|  |  | ### PROCUREMENT AND CONTRACTING OFFICE HQ EUFOR, J8 BUTMIR Camp Sarajevo Bldg. 225 71210 Ilidza, BH Fax: Civil +387-33-495707 e-mail: taco@eufor.europa.eu |  |  |  |
| --- | --- | --- | --- | --- | --- |

SERVICE BIDDING DOSSIER – MODIFICATION 1

Sarajevo, 07 October 2024

Our ref.: HQ EUFOR/FIRE ALARM SYSTEM/2024-SV/025

Dear Mr/Ms,

SUBJECT: INVITATION TO BID FOR

LOT 1 – Fire alarm including Central fire alarm system maintenance

and/or

LOT 2 - Fire alarm including Fire suppression system maintenance

and/or

LOT 3 - Fire alarm systems maintenance in Building 200

Further to your enquiry regarding the publication of the above-mentioned invitation to bid, please find enclosed the following documents, which constitute the bidding dossier:

A.	INSTRUCTIONS TO BIDDERS	4

1	SERVICES to be provided	4

2	Timetable		5

3.	Participation	5

4.	Type of contract	5

5.	Currency		6

6.	Lots				6

7.	Period of validity	6

8.	Language of BIDs	6

9.	Submission of BIDS	6

10.	Content of BIDs	7

11.	Pricing			10

12.	Additional information before the deadline for submission of BIDs	10

13.	Clarification meeting / site visit / INTERVIEWS	11

14.	Alteration or withdrawal of BIDs	11

15.	Costs of preparing BIDS	11

16.     EXCLUSION CRITERIA	11

17.	Ownership of BIDs	12

18.	Joint venture or consortium	13

19.	Opening of BIDS	13

20.	Evaluation of BIDS	13

21.	Signature of the contract and performance guarantee	16

22.	BID guarantee	16

23.	Ethics clauses	17

24.	Cancellation of the BIDDING procedure	17

B.	DRAFT CONTRACT AND SPECIAL CONDITIONS, INCLUDING ANNEXES	19

DRAFT CONTRACT		20

SPECIAL CONDITIONS	23

ANNEX I  :   GENERAL CONDITIONS FOR SERVICE CONTRACTS	26

ANNEX II  :  TERMS OF REFERENCE-LOT 1 - MODIFICATION 1	46

ANNEX II  :  TERMS OF REFERENCE-LOT 2	50

ANNEX II  :  TERMS OF REFERENCE-LOT 3................................................................................56

ANNEX III :  ORGANISATION AND METHODOLOGY-LOT 1	59

ANNEX III :  ORGANISATION AND METHODOLOGY-LOT 2	60

ANNEX III :  ORGANISATION AND METHODOLOGY-LOT 3..........................................................61

ANNEX IV :  KEY EXPERTS (INCLUDING THEIR CV)- LOT 1	62

ANNEX IV :  KEY EXPERTS (INCLUDING THEIR CV)- LOT 2	63

ANNEX IV :  KEY EXPERTS (INCLUDING THEIR CV)- LOT 3.......................................................64

ANNEX V :   FINANCIAL OFFER- LOT 1 - MODIFICATION 1	65

ANNEX V :   FINANCIAL OFFER- LOT 2	67

ANNEX V :   FINANCIAL OFFER- LOT 3………………………………………………………………..69

ANNEX VI:   FINANCIAL IDENTIFICATION FORM.........................................................................71

ANNEX VII:  CALL ORDER FORM.................................................................................................72

ANNEX VIII:  DECLARATION ON EXCLUSION CRITERIA............................................................73

C.	FURTHER INFORMATION	76

ADMINISTRATIVE COMPLIANCE GRID	77

EVALUATION GRID		78

SPECIMEN FOR A BID GUARANTEE............................................................................................79

SPECIMEN FOR A PERFORMANCE GUARANTEE......................................................................80

D.	BID FORM FOR A SERVICE CONTRACT	81

Any request for clarification must be received by the Contracting Authority in writing at least 14 days before the deadline for submission of bids. The Contracting Authority will reply to bidders' questions at least 6 days before the deadline for submission of bids.

If the Contracting Authority, either on its own initiative or in response to a request from a bidder, provides additional information on the bidding dossier, it will send such information in writing to all bidders at the same time.

Costs incurred by the bidders in preparing and submitting the bid proposals will not be reimbursed.

We look forward receiving your bid at the address specified in the Instructions to Bidders before or on Monday, 02 December 2024 at 14:00 hours.

If you decide to submit a bid, we would be grateful if you could notify us at the following e-mail address, taco@eufor.europa.eu in order to provide you potential clarifications during the bidding period.

If you decide not to submit a bid, we would be grateful if you could inform us in writing, stating the reasons for your decision.

Yours sincerely,

Procurement and Contracting Office

J8 HQ EUFOR

# A.	INSTRUCTIONS TO BIDDERS

PUBLICATION REF.: HQ EUFOR/FIRE ALARM SYSTEM/2024-SV/025

In submitting a bid, the bidder accepts in full and without restriction the conditions governing this contract, the terms of reference and all other instructions, forms and provisions contained in this bidding dossier as the sole basis of this bidding procedure, whatever his own conditions of sale may be, which he hereby waives. Bidders are expected to examine carefully and comply with all instructions, forms, contract provisions and specifications contained in this bidding dossier. Failure to submit a bid containing all the required information and documentation within the deadline specified will lead to the rejection of the bid. No account can be taken of any reservation in the bid as regards the bidding dossier; any reservation will result in the immediate rejection of the bid without further evaluation.

# Services to be provided

## The services required by the Contracting Authority are described in detail in the Terms of Reference. These are contained in Annex II of the Draft Contract, which forms Part B of this bidding dossier.

1.1.	The subject of the Contract is:

LOT 1 – Fire alarm including Central fire alarm system maintenance at HQ EUFOR Camp Butmir, in accordance with the Terms of references, Annex II – LOT 1

AND/OR

LOT 2 - Fire alarm including Fire suppression system maintenance at HQ EUFOR Camp Butmir, in accordance with the Terms of references, Annex II – LOT 2.

AND/OR

LOT 3 - Fire alarm systems maintenance in Building 200, at HQ EUFOR Camp Butmir, in accordance with the Terms of references, Annex II – LOT 3.

1.2. 	The Contract period will be 01 January 2025 until 31 December 2025 with the right vested in Procurement and Contracting Office (P&C) to extend the duration of the contract on a yearly basis until maximum 31 December 2026.

1.3.	Bidders are not authorized to bid for a variant in addition to the present bid.

# Timetable

|  | DATE | TIME* |
| --- | --- | --- |
| Deadline for request for any clarifications from the Contracting Authority | Monday,18 November 2024 | 16:00 hours |
| Clarification meeting / site visit (if any) | Not applicable | Not applicable |
| Last date on which clarifications are issued by the Contracting Authority | Monday,25 November 2024 | 16:00 hours |
| Deadline for submission of bids | Monday, 02 December 2024 | 14:00 hours |
| Bid evaluation (**) | December 2024 | - |
| Notification of award to the successful bidder (**) | December 2024 | - |
| Signature of the contract (**) | December 2024 |  |
| Commencement date (**) | 01 January 2025 | - |

* All times are in the time zone of the country of the Contracting Authority (Bosnia and Herzegovina)	
** Provisional dates

# Participation

## Participation to this procedure is open on equal terms to all natural and legal persons of the Member States of the European Union, Turkey, Iceland, Liechtenstein, Norway, Albania, Chile, Republic of North Macedonia, Mexico, Montenegro, Bosnia and Herzegovina and neighbouring countries, in accordance with Part II Article 3 and Part IV Article 3 of the EPF Implementing Rules applicable for expenditure financed through the Facility mechanism.

## These terms refer to all nationals of the said states and to all legal entities, companies or partnerships constituted under, and governed by, the civil, commercial or public law of such states and having their statutory office, central administration or principal place of business there. A legal entity, company or partnership having only its statutory office there must be engaged in an activity which has an effective and continuous link with the economy of the state concerned.

3.3	Bidders must not be in any of the exclusion criteria indicated in Section 16 of the     Instructions to bidders and must have the legal capacity to allow them to participate in this bidding procedure (see Section 16).

# Type of contract

## This contract is a Service Contract purchasing Agreement (CPA) with fixed prices and remains valid until 31 December 2025, with the possibility to be extended on a yearly basis for maximum one (1) year (until December 2026).

## Under the CPA, authorized Calling Officers (CO) will place call orders (Annex VII) throughout the contract duration and solely for services and at fixed prices, subject of this contract as outlined in Annex II (LOT 1 and/or LOT 2 and/or LOT 3) and Annex V (LOT 1 and/or LOT 2 and/or LOT 3).

## The listed service quantities and total CPA amount are indicative and are in no way guaranteed to be purchased from the contractor under the Contract Purchasing Agreement; HQ EUFOR reserves the right to alter those at any time during the CPA validity.

# Currency

## Bids must be presented in BAM currency.

# Lots

## 6.1   The bidder may submit a bid for LOT 1 and/or LOT 2 and/or LOT 3.

## Each lot will form a separate contract and the services indicated for different lots will be indivisible. The bidder must offer the whole scope of services indicated for each lot. Under no circumstances will bids for part of the services required be taken into consideration. If the bidder is awarded more than one lot, a single contract may be concluded covering all those lots.

## A bidder may include in his bid the overall discount he would grant in the event of some or all of the lots for which he has submitted a bid being awarded. The discount should be clearly indicated for each lot in the Bid Submission Form (Part D) and the Financial Offer (Part B, annex V).

## Bids will be evaluated and Contracts awarded lot by lot, but the Contracting Authority may select the most favourable overall solution after taking account of any discounts offered.

# Period of bid validity

## Bidders shall be bound by their bids for a period of 90 days from the deadline for the submission of bids.

## In exceptional cases and prior to the expiry of the original bid validity period, the Contracting Authority may ask bidders in writing to extend this period by 40 days. Bidders that agree to do so will not be permitted to modify their bids. If they refuse, their participation in the bidding procedure will be terminated.

## The successful bidder will be bound by his bid for a further period of 60 days following receipt of the notification of award that he has been selected.

# Language of bids and procedure

## The bids, all correspondence and documents related to the bid exchanged by the bidder and the Contracting Authority must be written in the language of the procedure. The language of this procedure shall be English.

## Supporting documents and printed literature furnished by the bidders may be in another language, provided they are accompanied by an accurate translation into the language of the procedure. For the purposes of interpretation of the bid, the language of the procedure will prevail.

# Submission of bids

## Bids must be received before the deadline specified in the letter of invitation to bid. They must include the Bid submission form in part D of this bidding dossier and be sent/delivered to the following address:

HQ EUFOR

- Procurement and Contracting Office

Main Gate Camp Butmir Sarajevo

71210 Ilidza

Bosnia and Herzegovina

- Bids must comply with the following conditions:

## All Bids must be submitted, FOR EACH LOT, in one (01) original, marked “original”, and two (02) copies signed in the same way as the original and marked “copy”.

## All bids must be received at HQ EUFOR, Butmir Camp Sarajevo, 71210 Ilidza, Bosnia and Herzegovina, before or on Monday, 02nd December 2024, 14:00 hours by registered letter with acknowledgement of receipt or hand delivered against receipt signed by the Contracting Authority or his representative. In case the bid is hand delivered before or on the submission deadline indicated; please all the following number. 00387 33 495 721, in order to arrange the hand-over of your bid.

## All bids, including annexes and all supporting documents, must be submitted in a sealed envelope/package bearing only:

a)	the above address;

b)	the reference code of this bidding procedure, (i.e., HQ EUFOR/FIRE ALARM SYSTEM/2024-SV/025);

c)	where applicable, the number of the lot(s) applied for;

d)	the words “Not to be opened before the bid opening session” in the
 	language of the bidding dossier and equivalent phrase in the local language “Ne 	otvarati prije komisije za dodjelu ugovora.

e)	the name of the bidder.

- The financial bid (annex V) must be placed in a sealed envelope with the technical bid for each lot. The envelopes should then be placed in another single sealed envelope/package, unless their volume requires a separate submission for each lot.

# Content of bids

- All bids submitted must comply with the requirements in the bidding dossier and comprise:

## A technical bid (LOT 1) consisting of:

- A detailed description of the services proposed in conformity with the terms of reference (Annex II), including any documentation required demonstrating the  technical conformity and capacity to deliver the service, such as, but not limited to:

- The bidder must have service authorization certificate for following equipment: LST and BENTEL as listed in Annex II.  Certificates should be issued by the equipment producer.

- The organisation and methodology to be used in order to implement the contract, to be drawn up by the bidder using the format in Annex III of Part B (including information of your workshop premises and its short description (size, location, address etc.)).

- A list and individual CV’s and diplomas of the Key Experts (service technicians) to be employed on the Contract (Annex IV). Proposed Key Experts should have service authorization certificate for following equipment: LST and BENTEL as listed in Annex II, Part B. Certificates should be issued by the equipment producer. Professional requirements will be subject to evaluation in accordance with the Professional capacity selection criteria outlined in Clause 20.2.1.a. (LOT 1).

- Declaration on honour on exclusion criteria (Annex VIII).

- Company registration documents.

- VAT registration.

- The completed Bid Submission Form (Part D), including the duly authorised      signature.

- A Financial Identification Form (Annex VI), containing all bank account details  	      therein and in which payments should be made.

- A financial statement for the years 2023, 2022 and 2021. In order to assess the

firm’s financial capacity in accordance with the following criteria: The bidder must have an average annual turn-over of at least 100,000.00 BAM during the past three (3) years (2023, 2022 and 2021). This statement shall be subject to evaluation in accordance with the Financial and Economical capacity selection criteria outlined in Clause 20.2.2.a. (LOT 1).

j)     A description of the firm's qualifications. In order to assess the firm’s compliance with following technical criterion: The bidder must have executed at least one (1) contract for similar services as this contract during the past three (3) years (2023, 2022 and 2021). The name of the recipient/employer or Contracting Authority must be mentioned. This description of at least one reference project/Contract will be assessed in accordance with the Technical capacity selection criteria outlined in Clause 20.2.3.a. (LOT 1).

## A technical bid (LOT 2) consisting of:

a)  A detailed description of the services proposed in conformity with the terms of    reference (Annex II), including any documentation required demonstrating the technical conformity and capacity to deliver the service, such as, but not limited to:

- The bidder must have service authorization certificate for following equipment: SIEMENS as listed in Annex II. Certificates should be issued by the equipment producer.

b)  The organisation and methodology to be used in order to implement the contract,  to be drawn up by the bidder using the format in Annex III of Part B (including information of your workshop premises and its short description (size, location, address etc.)).

- A list and individual CV’s and diplomas of the Key Experts (service technicians) to be employed on the Contract (Annex IV). Proposed Key Experts should have service authorization certificate for following equipment: SIEMENS, as listed in Annex II, Part B. Certificates should be issued by the equipment producer. Professional requirements will be subject to evaluation in accordance with the Professional capacity selection criteria outlined in Clause 20.2.1.a. (LOT 2).

- Declaration on honour on exclusion criteria (Annex VIII).

- Company registration documents.

- VAT registration.

- The completed Bid Submission Form (Part D), including the duly authorised signature.

- A Financial Identification Form (Annex VI), containing all bank account details therein and in which payments should be made.

- A financial statement for the years 2023, 2022 and 2021. In order to assess the firm’s financial capacity in accordance with the following criteria: The bidder must have an average annual turn-over of at least 100,000.00 BAM during the past three (3) years (2023, 2022 and 2021). This statement shall be subject to evaluation in accordance with the Financial and Economical capacity selection criteria outlined in Clause 20.2.2.a. (LOT 2).

- A description of the firm's qualifications. In order to assess the firm’s compliance with following technical criterion: The bidder must have executed at least one (1) contract for similar services as this contract during the past three (3) years (2023, 2022 and 2021). The name of the recipient/employer or Contracting Authority must be mentioned. This description of at least one reference project/Contract will be assessed in accordance with the Technical capacity selection criteria outlined in Clause 20.2.3.a. (LOT 2).

## A technical bid (LOT 3) consisting of:

a)  A detailed description of the services proposed in conformity with the terms of    reference (Annex II), including any documentation required demonstrating the technical conformity and capacity to deliver the service, such as, but not limited to:

- The bidder must have service authorization certificate for following equipment: ESSER as listed in Annex II. Certificates should be issued by the equipment producer.

b)  The organisation and methodology to be used in order to implement the contract,  to be drawn up by the bidder using the format in Annex III of Part B (including information of your workshop premises and its short description (size, location, address etc.)).

- A list and individual CV’s and diplomas of the Key Experts (service technicians) to be employed on the Contract (Annex IV). Proposed Key Experts should have service authorization certificate for following equipment: ESSER as listed in Annex II, Part B. Certificates should be issued by the equipment producer. Professional requirements will be subject to evaluation in accordance with the Professional capacity selection criteria outlined in Clause 20.2.1.a. (LOT 3).

- Declaration on honour on exclusion criteria (Annex VIII).

- Company registration documents.

- VAT registration.

- The completed Bid Submission Form (Part D), including the duly authorised signature.

- A Financial Identification Form (Annex VI), containing all bank account details therein and in which payments should be made.

- A financial statement for the years 2023, 2022 and 2021. In order to assess the firm’s financial capacity in accordance with the following criteria: The bidder must have an average annual turn-over of at least 50,000.00 BAM during the past three (3) years (2023, 2022 and 2021). This statement shall be subject to evaluation in accordance with the Financial and Economical capacity selection criteria outlined in Clause 20.2.2.a. (LOT 3).

- A description of the firm's qualifications. In order to assess the firm’s compliance with following technical criterion: The bidder must have executed at least one (1) contract for similar services as this contract during the past three (3) years (2023, 2022 and 2021). The name of the recipient/employer or Contracting Authority must be mentioned. This description of at least one reference project/Contract will be assessed in accordance with the Technical capacity selection criteria outlined in Clause 20.2.3.a. (LOT 3).

NOTE: If applying for more than one lot, general documentation required under d, e, f, g, h, and i. of Articles 10.1, 10.2 and 10.3, can be submitted once (in a separate envelope).

## A financial bid:

## To be submitted fully completed and signed in accordance with Annex V in Part B of this bidding dossier. The prices shall be deemed to include all fees, rates and costs needed for the complete performance of the services as outlined in the Terms of reference (Annex II) and the contractual conditions.

## The prices are fixed, unless an economical price adjustment is foreseen. Such a price adjustment mechanism, if applicable, shall be specified in clause 4 of the instruction to bidders and the Contract; outlining the methodology and formula to be used.

The bidders shall provide a financial bid for each potential extension period as defined in Annex V.

- The bidders shall provide a financial bid for spare parts Annex V (table 2) which need to be offered in accordance with the format of the financial offer (Annex V, Table 2 of the bidding dossier) however, prices offered will not enter into the price calculation in order to define the lowest bidder.

# Pricing

## Bidders will be deemed to have satisfied themselves, before submitting their bid, as to its correctness and completeness of the price, to have taken account of all that is required for the full and proper performance of the contract and to have included all costs in their rates and prices.

## The Contracting Authority is exempt of VAT and custom duties. As a result thereof, the prices shall not include VAT or other duties.

## 11.3.   The prices for the contract are fixed and not subject to revision, unless specified otherwise in article 4 of the instructions to bidders and the Contract.

# Additional information before the deadline for submission of bids

The bidding dossier should be clear enough to preclude the need for bidders to request additional information during the procedure. If the Contracting Authority, either on its own initiative or in response to a request from a prospective bidder, provides additional information on the bidding dossier, it must send such information in writing to all other prospective bidders at the same time.

Bidders may submit questions in writing to the following address up to 14 days  before the deadline for submission of bids, specifying the publication reference and the contract title:

HQ EUFOR

Procurement and Contracting Office
Butmir Camp Sarajevo

71210 Ilidza, Bosnia and Herzegovina

Fax: 00387 33 495 707
taco@eufor.europa.eu

Any clarification of the bidding dossier will be communicated simultaneously in writing to all known bidders at the latest 6 days before the deadline for submission of bids and will be published on the following website: www.euforbih.org under tenders where the complete bidding dossier is published. No further clarification will be provided after this date.

Any prospective bidders seeking to arrange individual meetings with the Contracting Authority during the bidding period may be excluded from the bidding procedure.

# Clarification meeting / site visit / interviews

13.1	No clarification meeting / site visit is planned.

# Alteration or withdrawal of bids

## Bidders may alter or withdraw their bids by written notification prior to the deadline for submission of bids referred to in Article 9.3. No bid may be altered after this deadline. Withdrawals must be unconditional and will end all participation in the bidding procedure.

## Any such notification of alteration or withdrawal must be prepared and submitted in accordance with Article 9. The outer envelope must be marked 'Alteration' or 'Withdrawal' as appropriate.

## No bid may be withdrawn in the interval between the deadline for submission of bids referred to in Article 9.3 and the expiry of the bid validity period. Withdrawal of a bid during this interval may result in forfeiture of the bid guarantee.

# Costs of preparing bids

No costs incurred by the bidders in preparing and submitting the bids are reimbursable. All such costs will be borne by the bidders.

# Exclusion criteria

## Participation to this bidding is only open to bidders who are not in one of the situations listed below:

(a) it is bankrupt, subject to insolvency or winding up procedures, its assets are being administered by a liquidator or by a court, it is in an arrangement with creditors, its business activities are suspended or it is in any analogous situation arising from a similar procedure provided for under national legislation or regulations;

(b) it has been established by a final judgement or a final administrative decision that the person is in breach of its obligations relating to the payment of taxes or social security contributions in accordance with the law of the country in which it is established, with those of the country in which the contracting authority is located or those of the country of the performance of the contract;

(c) it has been established by a final judgement or a final administrative decision that the person is guilty of grave professional misconduct by having violated applicable laws or regulations or ethical standards of the profession to which the person belongs, or by having engaged in any wrongful conduct which has an impact on its professional credibility where such conduct denotes wrongful intent or gross negligence, including, in particular, any of the following:

(i) fraudulently or negligently misrepresenting information required for the verification of the absence of grounds for exclusion or the fulfilment of selection criteria or in the performance of a contract;

(ii) entering into agreement with other persons with the aim of distorting competition;

(iii) violating intellectual property rights;

(iv) attempting to influence the decision-making process of the contracting authority during the award procedure;

(v) attempting to obtain confidential information that may confer upon it undue advantages in the award procedure;

(d) it has been established by a final judgement that the person is guilty of the following:

(i) fraud, within the meaning of Article 1 of the Convention on the protection of the European Communities' financial interests, drawn up by the Council Act of 26 July 1995;

(ii) corruption, as defined in Article 3 of the Convention on the fight against corruption involving officials of the European Communities or officials of EU Member States, drawn up by the Council Act of 26 May 1997, and in Article 2(1) of Council Framework Decision 2003/568/JHA, as well as corruption as defined in the legal provisions of the country where the contracting authority is located, the country in which the person is established or the country of the performance of the contract;

(iii) participation in a criminal organisation, as defined in Article 2(1) of Joint Action 98/733/JHA of the Council;

(iv) money laundering or terrorist activities, as defined in Articles 1,4 and 5 of Council Directive 2015/849;

(v) child labour or other offences concerning trafficking of human beings as referred to in Article 2 of Direcive 2011/36/EU.

(e) following another procurement procedure or grant award procedure financed by the budget of the European Union or through Facility, they have been declared to be in serious breach of contract for failure to comply with their contractual obligations.

(f) it does not have adequate resources to perform the contract, or the ability to obtain them;

(g) it is not able to comply with the required delivery or performance schedule, taking into consideration all existing commercial and business commitments;

In addition to the above, contracts may not be awarded to bidders who, during the procurement procedure:

  - are subject to a conflict of interest;

  - are guilty of misrepresentation in supplying the information required by the contracting authority as a condition of participation in the contract procedure or fail to supply this information;

  - were previously involved in the preparation of procurement documents used in the award procedure where this entails a breach in the principle of equality of treatment.

Means of proof required

Bidders, including all consortium members and all sub-contractors where applicable, shall provide a declaration on their honour (see model in Annex VIII), duly signed and dated, stating that they are not in one of the situations referred to above. Bidders shall without delay inform the Contracting Authority of any changes in the situations as declared.

# Ownership of bids

The Contracting Authority retains ownership of all bids received under this bidding procedure. Consequently, bidders have no right to have their bids returned to them.

# Joint venture or consortium

## If a bidder is a joint venture or consortium of two or more legal entities, than the bid must be single with the object of securing a single contract, each person representing the legal entities forming the consortium or joint-venture must sign the bid and will be jointly and severally liable for the bid proposal and any contract arising from it. Those persons must designate one of their pairs to act as leader with authority to bind the joint venture or consortium. The composition of the joint venture or consortium must not be altered without the prior consent in writing of the Contracting Authority.

## The bid may be signed by the representative of the joint venture or consortium only if he has been expressly so authorised in writing by the members of the joint venture or consortium, and the authorising contract, notarial act or deed must be submitted to the Contracting Authority within the 30 days following the award of the contract. All signatures to the authorising instrument must be certified in accordance with the national laws and regulations of each party comprising the joint venture or consortium together with the powers of attorney establishing, in writing, that the signatories to the tender are empowered to enter into commitments on behalf of the members of the joint venture or consortium.

## 18.3 In addition, each member of the consortium must provide the required evidence for    the exclusion (see Section 16 of the Instructions to bidders) criteria.

# Opening of bids

## The opening and examination of bids during the contract award committee meetings is for the purpose of checking whether the bids are complete, whether the requisite bid guarantees have been furnished if required, whether the documents have been properly signed and whether the bids are generally in order.

## During and after the opening of the bids, no information relating to the examination, clarification, evaluation and comparison of bids, or recommendations concerning the award of the contract can be disclosed.

## In the interests of transparency and equal treatment and without being able to modify their bids, bidders may be required, at the sole written request of the contract award committee, to provide clarifications within maximum 48 hours. Any such request for clarification will not seek the correction of formal errors or of major restrictions affecting performance of the contract or distorting competition.

## Any attempt by a bidder to influence the contract award committee in the process of examination, clarification, evaluation and comparison of bids, to obtain information on how the procedure is progressing or to influence the Contracting Authority in its decision concerning the award of the contract will result in the immediate rejection of his bid.

## All bids received after the deadline for submission specified in those instructions will be kept by the Contracting Authority. The associated bid guarantees may be returned to the bidders on request. No liability can be accepted for late delivery of bids. Late bids will be rejected and will not be evaluated.

# Evaluation of bids

Submitted bids shall be evaluated by a Contract Award Committee, using the compliance and evaluation grids as specified in Part C of this bidding dossier. The grids with the therein specified selection and award criteria shall not be modified during the evaluation.

## Examination of the administrative conformity of bids

- The completeness of the bid, including the required documents as outlined in Article 10 will be verified at this stage of the evaluation of bids.

- The aim at this stage is to check that bids comply with the essential requirements of the bidding dossier. A bid is deemed to comply if it satisfies all the conditions, procedures and specifications in the bidding dossier without substantially departing from or attaching restrictions to them.

- Substantial departures or restrictions are those which affect the scope, quality or execution of the contract, differ widely from the terms of the bidding dossier, limit the rights of the Contracting Authority or the bidder’s obligations under the contract or distort competition for bidders whose bids do comply. Decisions to the effect that a bid is not administratively compliant must be duly justified in the contract award committee minutes.

- If a bid does not comply with the bidding dossier, it will be rejected immediately and may not subsequently be made to comply by correcting it or withdrawing the departure or restriction.

## 20.2   Technical evaluation

- After analysing the bids deemed to comply in administrative terms, the contract award committee will rule on the technical admissibility of each bid, classifying it as technically compliant or non-compliant.

LOT 1:

- Professional capacity criteria:

- A list and individual CV’s and diplomas of the Key Experts (service technicians) to be employed on the Contract (Annex IV). Proposed Key Experts should have service authorization certificate for following equipment: LST and BENTEL as listed in Annex II. Certificates should be issued by the equipment producer.

- Economical/Financial capacity criteria:

- A financial statement for the years 2023, 2022 and 2021. In order to assess the firm’s financial capacity in accordance with the following criteria: The bidder must have an average annual turn-over of at least 100,000.00 BAM during the past three (3) years (2023, 2022 and 2021).

- Technical capacity criteria:

- A description of the firm's qualifications. In order to assess the firm’s compliance with following technical criterion: The bidder must have executed at least one (1) contract for similar services as this contract during the past three (3) years (2023, 2022 and 2021). The name of the recipient/employer or Contracting Authority must be mentioned.

- Technical compliance criteria:

- The bidder’s technical proposed offer is fully compliant in all aspects with the requirements and desired outputs outlined in the terms of reference (Annex II, Part B of this bidding dossier). Shall be evaluated using the required documentation under clause 10.1.a) and 10.1.b).

LOT 2:

- Professional capacity criteria:

- A list and individual CV’s and diplomas of the Key Experts (service technicians) to be employed on the Contract (Annex IV). Proposed Key Experts should have service authorization certificate for following equipment: SIEMENS as listed in Annex II. Certificates should be issued by the equipment producer.

- Economical/Financial capacity criteria:

- A financial statement for the years 2023, 2022 and 2021. In order to assess the firm’s financial capacity in accordance with the following criteria: The bidder must have an average annual turn-over of at least 100,000.00 BAM during the past three (3) years (2023, 2022 and 2021).

- Technical capacity criteria:

- A description of the firm's qualifications. In order to assess the firm’s compliance with following technical criterion: The bidder must have executed at least one (1) contract for similar services as this contract during the past three (3) years (2023, 2022 and 2021). The name of the recipient/employer or Contracting Authority must be mentioned.

- Technical compliance criteria:

- The bidder’s technical proposed offer is fully compliant in all aspects with the requirements and desired outputs outlined in the terms of reference (Annex II, Part B of this bidding dossier). Shall be evaluated using the required documentation under clause 10.2.a) and 10.2.b).

LOT 3:

- Professional capacity criteria:

- A list and individual CV’s and diplomas of the Key Experts (service technicians) to be employed on the Contract (Annex IV). Proposed Key Experts should have service authorization certificate for following equipment: ESSER as listed in Annex II. Certificates should be issued by the equipment producer.

- Economical/Financial capacity criteria:

- A financial statement for the years 2023, 2022 and 2021. In order to assess the firm’s financial capacity in accordance with the following criteria: The bidder must have an average annual turn-over of at least 50,000.00 BAM during the past three (3) years (2023, 2022 and 2021).

- Technical capacity criteria:

- A description of the firm's qualifications. In order to assess the firm’s compliance with following technical criterion: The bidder must have executed at least one (1) contract for similar services as this contract during the past three (3) years (2023, 2022 and 2021). The name of the recipient/employer or Contracting Authority must be mentioned.

- Technical compliance criteria:

- The bidder’s technical proposed offer is fully compliant in all aspects with the requirements and desired outputs outlined in the terms of reference (Annex II, Part B of this bidding dossier). Shall be evaluated using the required documentation under clause 10.3.a) and 10.3.b).

- The Contract Award Committee will examine in detail all the information supplied by the bidders and will formulate its judgement and award on the basis of full technical compliance while being the lowest bid. No other award and selection criteria will be used and they will be examined in accordance with the requirements as indicated in the terms of reference and instructions included in this bidding dossier.

## 20.3	To facilitate the examination, evaluation and comparison of bids, the contract award committee may ask each bidder individually for clarification of his bid. The request for clarification and the response must be in writing only, but no change in the price or substance of the bid may be sought, offered or permitted except as required to confirm the correction of arithmetical errors discovered during the evaluation of the financial proposal. Decisions to the effect that a bid is not technically compliant must be duly justified in the contract award committee minutes.

## 20.4	Financial evaluation

a)	Bidders found to be technically compliant shall be checked for any arithmetical 
 	errors in computation and summation. Errors will be corrected by the evaluation 
 	committee as follows:

- - where there is a discrepancy between amounts in figures and in words, the amount in words will be the amount taken into account;

- - where there is a discrepancy between a unit price and the total amount derived from the multiplication of the unit price and the quantity, the unit price as quoted will be the price taken into account.

b) 	Amounts corrected in this way will be binding on the bidders. If the bidder 
 	does not accept them, his bid will be rejected.

## 20.5	Award criteria

- The contract will be awarded to the lowest priced bidder, while being fully administratively and technically compliant.

- The lowest price will be defined by adding total cost for Basic and Option year, Annex V (table 1). Prices for spare parts Annex V (table 2) which needs to be offered in accordance with the format of the financial offer (Annex V, Table 2 of the bidding dossier) will not enter into the price calculation in order to define the lowest bidder.

# Signature of the contract and performance guarantee

## 21.1 The successful bidder will be informed in writing that his bid has been accepted for award. (Notification of award).

## 21.2.	Within 15 days of receipt of the notification of award, the selected bidder will submit the documents mentioned in the section 16 of the Instructions to bidders. Before effective contract signature, the successful bidder will provide the required performance guarantee. On signing the contract, the successful bidder will become the Contractor and the contract will enter into force. The Contracting Authority may forfeit the performance guarantee if the Contractor is in a situation of exclusion as referred to Article 16.

## 21.3.	If the successful bidder fails to provide the performance guarantee and other documents mentioned in point 21.2 within 15 days of receipt of notification of award; the Contracting Authority may consider the acceptance of the bid to be revoked and award the contract to the second best bidder, without prejudice to the Contracting Authority’s right to forfeit the bid guarantee, claim compensation or pursue any other remedy in respect of such failure, and the successful bidder will have no claim whatsoever on the Contracting Authority.

- 21.4. The performance guarantee is set at:

- LOT 1 – 10% of the contract value and must be presented in the form specified in the annex to the bidding dossier. It should remain valid during the contract duration and be extended in case the contract duration is being extended afterwards.

- LOT 2 - 10% of the contract value and must be presented in the form specified in the annex to the bidding dossier. It should remain valid during the contract duration and be extended in case the contract duration is being extended afterwards.

- LOT 3 - 10% of the contract value and must be presented in the form specified in the annex to the bidding dossier. It should remain valid during the contract duration and be extended in case the contract duration is being extended afterwards.

- - In case of award of two or all three lots to a same contractor a performance guarantee of 10 % of the contract value will be required.

# Bid guarantee

- NO BID GUARANTEE IS REQUIRED.

# 23.	Ethics clauses

## 23.1	Any attempt by a candidate or bidder to obtain confidential information, enter into unlawful agreements with competitors or influence the contract award committee or the Contracting Authority during the process of examining, clarifying, evaluating and comparing bids will lead to the rejection of his candidacy or bid and may result in exclusion of participation in further bidding procedure.

## 23.2	When putting forward a bid, the bidder shall declare that he is affected by no potential conflict of interest and has no particular link with other bidders or parties involved in the project. Should such a situation arise during performance of the contract, the Contractor must immediately inform the Contracting Authority.

## 23.3	The Contractor must at all times act impartially and as a faithful adviser in accordance with the code of conduct of his profession. He shall refrain from making public statements about the contract or services without the Contracting Authority's prior approval. He may not commit the Contracting Authority in any way without its prior written consent.

## 23.4	For the duration of the contract the Contractor and his staff shall respect human rights and undertake not to offend the political, cultural and religious mores of the representatives of the Contracting Authority and the host state.

## 23.5	The Contractor may accept no payment connected with the contract other than that provided for therein. The Contractor and his staff must not exercise any activity or receive any advantage inconsistent with their obligations to the Contracting Authority.

## 23.6	The Contractor and his staff shall be obliged to maintain professional secrecy for the entire duration of the contract and after its completion. All reports and documents drawn up or received by the Contractor shall be confidential and not treated as public documents.

## 23.7	The contract shall govern the Contracting Parties' use of all reports and documents drawn up, received or presented by them during the execution of the contract.

## 23.8 The Contractor shall refrain from any relationship likely to compromise his   independence or that of his staff. If the Contractor ceases to be independent, the Contracting Authority may, regardless of injury, terminate the contract without further notice and without the Contractor having any claim to compensation.

## 23.9	The Contracting Authority reserves the right to suspend or cancel the contract if corrupt practices of any kind are discovered at any stage of the award process and contract implementation. For the purposes of this provision, "corrupt practices" are the offer of a bribe, gift, gratuity or commission to any person as an inducement or reward for performing or refraining from any act relating to the award of a contract or implementation of a contract already concluded with the Contracting Authority.

# 24.	Cancellation of the bidding procedure

In the event of a bidding procedure's cancellation, bidders will be notified by the Contracting Authority. If the bidding procedure is cancelled before the outer envelope of any bid has been opened, the sealed envelopes will be returned, unopened, to the bidders.

Cancellation may occur where:

▪	the bidding procedure has been unsuccessful, namely where no qualitatively or financially worthwhile bid has been received or there has been no response at all;

▪	the economic or technical parameters of the project have been fundamentally altered;

▪	exceptional circumstances or “force majeure” would render normal performance of the contract impossible;

▪	all technically compliant tenders exceed the financial resources available;

▪	there have been irregularities in the procedure, in particular where these have prevented fair competition.

In no circumstances will the Contracting Authority be liable for damages, whatever their nature (in particular damages for loss of profits) or relationship to the cancellation of a bidding procedure, even if the Contracting Authority has been advised of the possibility of damages. The invitation to bid does not commit the Contracting Authority to sign nor implement the contract announced.

# B.	DRAFT CONTRACT AND SPECIAL CONDITIONS, INCLUDING ANNEXES

# [DRAFT SERVICE CONTRACT]

European Union Forces (EUFOR) in [country], represented by the [EU Head Quarter’s, Contracting Office], [on behalf of…] > ("The Contracting Authority”)

on the one part,

and

<Name of Contractor> (acronym) (“the Contractor”)

on the other part,

have agreed as follows:

- CONTRACT TITLE

LOT 1 – Fire alarm including Central fire alarm system maintenance

and/or

LOT 2 – Fire alarm including Fire suppression system maintenance

and/or

LOT 3 – Fire alarm systems maintenance in Building 200

- Contract number [Commitment Number,…]

- Article 1	Subject

1.1	LOT 1 - The Contractor shall furnish all labour, materials, parts, equipment and transportation, as necessary, to perform, Fire alarm including Central Fire alarm system maintenance, in accordance with the Terms of Reference (Annex II, LOT 1).

AND/OR

LOT 2 - The Contractor shall furnish all labour, materials, parts, equipment and transportation, as necessary, to perform Fire alarm including Fire suppression system maintenance, in accordance with the Terms of Reference (Annex II, LOT 2).

AND/OR

LOT 3 - The Contractor shall furnish all labour, materials, parts, equipment and transportation, as necessary, to perform Fire alarms system maintenance in Building 200, in accordance with the Terms of Reference (Annex II, LOT 3).

1.2	The Contractor shall comply strictly with the terms of the Contract and Special Conditions and its Annexes.

1.3	The place of acceptance shall be HQ EUFOR Butmir Camp, 71210 Ilidza, Bosnia and Herzegovina. The time limits for the service shall be in accordance with the TOR in Annex II. The performance period shall run 01 January 2025 until 31 December 2025 with the possibility to be extended on a yearly basis until maximum 31 December 2026.

- Article 2	Price

2.1	The price of the services shall be that shown on the financial offer (specimen in Annex V). The total contract price shall be shown in BAM currency.

2.2	The prices referred to in Annex V shall be firm and shall not be subject to revision.

2.3	Payments shall be made in accordance with the General and/or Special Conditions of this Contract.

- Article 3	Order of precedence of contract documents

The contract is made up of the following documents, in order of precedence:

- the Contract and Special Conditions

- the General Conditions (Annex I);

- the Terms of Reference (Annex II);

- the Contractor's Organisation and Methodology (Annex III);

- the list of Key Experts (Annex IV);

- the Financial Offer (Annex V);

- the Financial Identification Form (Annex VI);

- the Call Order Form (Annex VII)

- The provisions of the original bidding dossier.

- The various documents making up the contract shall be deemed to be mutually explanatory; in cases of ambiguity or divergence, they should be read in the order in which they appear above.

- Article 4	Communications

- All official communication relating to this Contract shall be in written.

- Any written communication relating to this Contract between the Contracting Authority and/or the Contracting Officer’s Representative, on the one hand, and the Contractor on the other must state the Contract title and contract number, and must be sent by post, fax, e-mail or by hand delivery according to article 4 of the Special Conditions.

Done in English in two originals, one original being for the Contracting Authority and one original being for the Contractor.

| For the Contractor |  | For the Contracting Authority |  |  |
| --- | --- | --- | --- | --- |
| Name: |  | Name: |  |  |
| Position: |  | Position: |  | [Authorizing Officer] |
| Signature: |  | Signature: |  |  |
| Date: |  | Date: |  |  |
|  |  | Name |  |  |
|  |  | Position | [Financial Controller] |  |
|  |  | Signature |  |  |

# SPECIAL CONDITIONS

- CONTENTS

These conditions amplify and supplement, if necessary, the General Conditions governing the Contract. Unless the Special Conditions provide otherwise, those General Conditions remain fully applicable. The numbering of the Articles of the Special Conditions is not consecutive but follows the numbering of the Articles of the General Conditions.

Article 2	Law applicable	23

Article 4	Communications	23

Article 7	Supply of documents	23

Article 10	PERFORMANCE GUARANTEE	24

Article 11	Insurance	24

Article 12	Performance programme (timetable)	24

Article 15	TAX AND CUSTOM ARRANGEMENTS	24

Article 22	Quality of sERVICES	25

Article 24	PAYMENTS	25

Article 25	INTERIM AND FINAL REPORTS	25

Article 29	Breach of contract	25

Article 34	Dispute settlement by litigation	25

##### Article 2	Law applicable

2.1	Belgian law shall apply in all matters not covered by the provisions of the contract, in case of disputes that cannot be settled between the parties.

2.2	The language used shall be English.

##### Article 4	Communications

Contracting Officer and/or his representative: Procurement and Contracting Office, Camp Butmir Sarajevo, 71210 Ilidza, Bosnia and Herzegovina, Fax: 00387 33 495 707, e-mail: taco@eufor.europa.eu

Calling Officer (CO)/Contracting Officer representative (COR): [shall be completed after award]

Finance and Accounting Office: [shall be completed after award]

##### Article 7	Supply of documents

The quantities and total CPA amount are indicative and are in no way guaranteed to be purchased from the contractor under the Contract Purchasing Agreement; HQ EUFOR reserves the right to alter those at any time during the CPA validity.

## A firm purchasing commitment will be generated only when a duly signed call order (annex VII) is issued by HQ EUFOR.

## Under the CPA, authorized Calling Officers will place call orders (annex VII) throughout the validity of the CPA and solely for those items and at fixed prices, as specified in the CPA. Authorized Calling Officers are specified as such under HQ EUFOR points of contact of this CPA. Call orders shall be valid insofar signed by the Contract Manager specified under HQ EUFOR points of contact of this CPA.

##### Article 10	Performance guarantee

- The performance guarantee is set at:

LOT 1 – 10% of the maximum Contract Price for one year service. The performance guarantee shall be released at the end of the Contract or any extended period thereafter.

LOT 2 - 10% of the maximum Contract Price for one year service. The performance guarantee shall be released at the end of the Contract or any extended period thereafter.

LOT 3 - 10% of the maximum Contract Price for one year service. The performance guarantee shall be released at the end of the Contract or any extended period thereafter.

In case of award of LOT1 and/or LOT 2 and/or LOT 3 to a same contractor a performance guarantee of 10 % of the total contract value will be required.

##### Article 11	Insurance

Insurance shall be subscribed by the Contractor pursuant Article 11 of the General Conditions.

##### Article 12	Performance programme (timetable)

The overall performance of the Contract shall run for the maximum period as indicated in Article 1.3 of the Contract.

##### Article 15	Tax and customs arrangements

15.5	The Contracting Officer or his representative on behalf of the Contracting Authority’s custom office shall issue to the Contractor a tax exemption form for all supplies delivered and procured in Bosnia and Herzegovina and subject to the Contract. The tax exemption form shall be issued based on the related invoice, which shall not include any VAT or other tax.

The Contracting Officer or his representative on behalf of the Contracting Authority’s custom office shall issue to the Contractor a custom form (C-form) for all supplies imported into Bosnia and Herzegovina and subject to the Contract. The C-form should be requested well before the concerned shipment is due to arrive at the Bosnia and Herzegovina border. The fifth copy of the C-form shall be returned by the Contractor to the Contracting Officer immediately after delivery and custom clearance, with evidence thereof marked on the fifth copy.

All customs clearance formalities shall be performed by the Contractor at his own expense. The Contracting Authority shall in no case be responsible for charges of any nature incurred by the Contractor in effecting such clearance or for any customs infraction committed by the Contractor in connection therewith.

The Contractor shall be responsible for compliance with all national import and export custom regulations and formalities.

Article 22	Quality of Services

22.2	The services must respect in all aspects the requirements of the terms of reference of the contract and be conform to all professional standards related to the performance of such services.

The contractor shall use all the required labour, materials and assets as to perform the Contract.

Article 24	Payments

24.1	Payments shall be made in BAM currency.

Payments shall be authorised and made by Finance and Accounting Office, Bldg 225, Butmir Camp Sarajevo, 71 210 Ilidza, BiH.

Invoices not send or submitted to the finance and accounting section shall not be considered for payment and the Contracting Authority will bear no responsibility for lost or misplaced invoices as a consequence of the Contractor’s failure to address the invoice pursuant to this Article of the Special and General Conditions.

  - The following payment schedule and conditions shall be applicable for this Contract:

Service shall be performed in accordance with the contract and Call order. Payments shall be made in accordance with the contract, call orders and corresponding invoices submitted.

  - The prices of this Contract are fixed and not subject for revision

#### Article 25	Interim and Final Report

25.1	Shall be in accordance with the General Conditions.

##### Article 29	Breach of contract

29.3	Liquidated damages shall be calculated in accordance with Article 19 of the General Conditions. General damages may be claimed by the Contracting Authority in accordance with Article 19.3 of the General Conditions in case the Contracting Authority has to enter into a contract with a third party following the Contractor’s failure to perform the Contract and/or is in a situation of exclusion as referred to Article 16 of instruction to bidders, as such declared in breach of Contract pursuant Article 29 of the General Conditions. Those general damages shall be calculated based on the additional cost of the new contract with a third party and/or extra costs engaged by the Contracting Authority to complete the services by its own means. General damages may be calculated in addition to liquidated damages pursuant Article 19 of the General Conditions.

##### Article 34	Dispute settlement by litigation

Any dispute between the Parties that may arise during the performance of this contract and cannot be settled amicably between the Parties shall be submitted to the courts of Brussels.

# ANNEX I:   GENERAL CONDITIONS

## FOR SERVICE CONTRACTS

## SUMMARY

PRELIMINARY PROVISIONS	27

Article 1	Definitions	27

Article 2	Law and language of the contract	27

Article 3	Order of precedence of contract documents	27

Article 4	Communications	28

Article 5 	Assignment	28

Article 6	Subcontracting	28

Article 7 	Supply of documents	29

Article 8 	Assistance with local regulations	29

OBLIGATIONS OF THE CONTRACTOR	30

Article 9	General Obligations	30

Article 10	Performance guarantee	30

Article 11	Insurance	31

Article 12	Performance programme	32

Article 13	Intellectual and industrial property rights	32

Article 14	Sufficiency of contract prices	32

Article 15	Tax and customs arrangements	33

COMMENCEMENT OF EXECUTION AND DELAYS	34

Article 16	Notification to proceed	34

Article 17	Period of execution of tasks	34

Article 18	Extension of period of execution	34

Article 19	Delays in execution	34

Article 20	Variations and Modifications	35

Article 21	Suspension order	36

SERVICES  AND VERIFICATION	36

Article 22	Quality of services	36

Article 23	Inspection and information	37

PAYMENTS AND ACCEPTANCE	37

Article 24	General principles	37

Article 25	Interim and final reports	38

Article 26	Provisional acceptance	38

Article 27	Final acceptance	38

Article 28	Quality warranty obligations	39

BREACH OF CONTRACT AND TERMINATION	40

Article 29	Breach of contract	40

Article 30	Termination by the Contracting Authority	40

Article 31	Termination by the Contractor	42

Article 32	Force majeure	42

DISPUTE SETTLEMENT	43

Article 33	Amicable dispute settlement	43

Article 34	Dispute settlement by litigation	43

ETHICS CLAUSES	43

Article 35	Ethics clauses	43

Article 36	Examination of records and Audits	44

### PRELIMINARY PROVISIONS

#### Article 1	Definitions

1.1 	The Contracting Authority is as defined in the Contract.

1.2	The successful bidder is the bidder selected at the end of a competitive bidding procedure and who becomes the Contractor once signing the Contract.

1.3	The Contracting Officer is the person managing the Contract on behalf of the Contracting Authority.

1.4	The Contract Officer’s Representative (COR) is the person nominated by the Contract Officer to act on behalf of the Contracting Authority as the project officer or project manager.

1.5	Days shall be interpreted as calendar days.

1.6	Those General Conditions are general contractual provisions setting out the administrative, legal, financial and technical clauses governing the execution of the contract.

1.7	The Special Conditions as laid down by the Contracting Authority form an integral part of the Contract and supplement and/or modify the General Conditions. The Special Conditions supersede the General Conditions.

1.8	The services are all tasks which the Contractor is required to perform under the Contract. This may include, where foreseen, the provision of training, spare parts, and other such obligations as provided by the Contract.

1.9	Where the context so permits, words in the singular shall be deemed to include the plural and vice versa, and words in the masculine shall be deemed to include the feminine and vice versa.

#### Article 2	Law and language of the contract

2.1	The Special Conditions shall specify the applicable law governing all matters not covered by the contract.

2.2	The contract and all written communications between the parties shall be exclusively drafted in English.

#### Article 3	Order of precedence of contract documents

3.1	Save where otherwise provided in the Contract or Special Conditions, the contract is made up of the following documents, in order of precedence:

a)	the Contract and Special Conditions

b)	the General Conditions (Annex I)

c)	the Terms of Reference (Annex II)

d)	the Contractor's Organisation and Methodology (Annex III)

e)	the list of Key Experts (Annex IV)

f)	the Financial Offer (Annex V);

g)	the minutes of the bidding clarifications and/or site visits

h)	the provisions of the original bidding documentation.

Contract modifications have the order of precedence of the document they are modifying.

3.2.	The various documents making up the contract shall be deemed to be mutually explanatory; in cases of ambiguity or divergence, they should be read in the order in which they appear above.

#### Article 4	Communications

4.1	Communications between the Contracting Authority, the Contract Officer and/or the COR on the one hand, and the Contractor on the other, shall be exclusively in writing. Unless otherwise specified in the Special Conditions, communications between the Contracting Authority, the Contracting Officer and/or the COR on the one hand, and the Contractor on the other hand, shall be sent by post, fax transmission, e-mail, or delivered by hand, to the addresses designated by the Parties for that purpose in the Special Conditions. The contract number shall be mentioned in all correspondence.

4.2	If the person sending a communication requires acknowledgement of receipt, he shall indicate this in his communication. Whenever there is a deadline for the receipt of a written communication, the sender should ask for an acknowledgement of receipt of his communication. In any event, the sender shall take all necessary measures to ensure receipt of his communication.

4.3	Wherever the contract provides for the giving or issue of any notice, consent, approval, certificate or decision, unless otherwise specified such notice, consent, approval, certificate or decision shall be in writing and the words "notify", "certify", "approve" or "decide" shall be construed accordingly. Any such consent, approval, certificate or decision shall not unreasonably be withheld or delayed.

4.4	Any document submitted by the Contractor for the Contracting Authority’s review and approval shall be categorised by the Contracting Authority as: approved, conditionally approved subject to the incorporation by the Contractor of the Contracting Authority’s comments, or not approved for the reasons stated by the Contracting Authority.

#### Article 5 	Assignment

5.1	The Contractor may not, without the prior written consent of the Contracting Authority, represented by the Contracting Officer, assign the contract or any part thereof, or any benefit or interest hereunder.

5.2	For the purpose of Article 5.1, the approval of an assignment by the Contracting Authority shall not relieve the Contractor of his obligations for the part of the contract already performed or the part not assigned.

5.3	If the Contractor has assigned his contract without authorisation, the Contracting Authority may, without giving formal notice thereof, apply as of right the sanctions for breach of contract provided for in Article 29 and 30.

#### Article 6	Subcontracting

6.1	A subcontract shall be valid only if it is a written agreement by which the Contractor entrusts performance of a part of his contract to a third party.

6.2	The Contractor shall not subcontract without the prior written authorisation of the Contracting Authority, represented by the Contracting Officer. The elements of the contract to be subcontracted and the identity of the subcontractors shall be notified to the Contracting Authority. The Contracting Authority shall notify the Contractor of its decision and stating its reasons if authorisation is withheld.

6.3	Subcontractors must satisfy the eligibility criteria applicable for the original award of the contract.

6.4	The Contracting Authority recognises no contractual link between itself and the subcontractors.

6.5	The Contractor shall be responsible for the acts, defaults and negligence of his subcontractors and their agents or employees, as if they were the acts, defaults or negligence of the Contractor, his agents or employees. The approval by the Contracting Authority of the subcontracting of any part of the contract or of the subcontractor shall not relieve the Contractor of any of his obligations under the contract.

6.6	The Contractor shall place the sub-contractor under security obligations no less stringent than those applied to his own contract. The Contractor shall assure and determine that any sub-contractor proposed by him, which involve access to classified information in the Contractor’s custody, has been granted the appropriate facility security clearance by the sub-contractor’s national authorities, prior being given access to such classified information.

6.7	If the Contractor enters into a subcontract without prior written approval, the Contracting Authority may, without giving formal notice thereof, apply as of right the sanctions for breach of contract provided for in Article 29 and 30.

#### Article 7 	Supply of documents

7.1	If applicable, after the signing of the contract, the COR shall, where necessary, provide the Contractor, free of charge, with a copy of the drawings or plans needed for the performance of the contract. Upon final acceptance, the Contractor shall return to the COR all such documents.

7.2	Unless it is necessary for the purposes of the contract, the drawings, specifications and other documents provided by the COR shall not be used or communicated to a third party by the Contractor without the prior consent of the COR.

7.3	The COR shall have authority to issue to the Contractor administrative orders incorporating such supplementary documents and instructions as are necessary for the proper execution of the contract and the remedying of any defects therein.

7.4	The Special Conditions must indicate the procedure used, if necessary, by the Contracting Authority and the COR to approve reports and other documents provided by the Contractor.

#### Article 8 	Assistance with local regulations

8.1	The Contractor shall duly notify the Contracting Authority of details of equipment or supplies needed for the performance of the contracted services, so that the Contracting Authority can assist obtaining the requisite permits or import licences. Regulations related to Tax and Customs arrangements are further outlined in Article 15 and the Special Conditions.

8.2	The Contracting Authority, represented by the COR shall make every effort to facilitate obtaining the needed identification cards for access to the Contracting Authority’s premises. Access shall only be granted to such places where contract performance is foreseen for a duration not exceeding the validity of the Contract. The Contractor shall provide the Contracting Authority, represented by the Contracting Officer, a list of personnel and vehicles for which a requirement to enter the Contracting Authority’s premises exist. This list shall be updated until performance completion.

### OBLIGATIONS OF THE CONTRACTOR

#### Article 9	General Obligations

9.1	The Contractor shall perform the contract with due care, efficiency and diligence in accordance with the best professional practice. The Contractor shall also provide all necessary equipment, supervision, labour and facilities required for the performance of the contract.

9.2	The Contractor shall comply with administrative orders given by the Contracting Authority, represented by the Contract Officer or his authorized representative. Where the Contractor considers that the requirement of an administrative order goes beyond the scope of the contract, he shall, on pain of breach of contract, notify the Contract Officer thereof, giving his reasons.

9.3	The Contractor shall respect and abide by all laws and regulations in force in the State of contract performance and shall ensure that his personnel, their dependants, and his local employees also respect and abide by all such laws and regulations. The Contractor shall indemnify the Contracting Authority against any claims and proceedings arising from any infringement by the Contractor, his employees and their dependants of such laws and regulations. The Contractor shall comply with all security requirements prescribed by the Contracting Authority and the National Security Authority, or designated security agency, where the Contract is performed.

9.4	The Contractor shall be responsible for the safeguarding of the Contracting Authority’s classified information, material and equipment entrusted to him or generated by him in connection with the performance of the contract. The Contractor shall treat all documents and information received in connection with the contract as private and confidential. He shall not, save in so far as may be necessary for the purposes of the contract's execution, publish or disclose any particulars of the contract without the prior consent in writing of the Contracting Authority, represented by the Contract Officer. If any disagreement arises as to the necessity for any publication or disclosure for the purpose of the contract, the decision of the Contracting Authority shall be final. Any known or suspected breaches of security shall be brought to the Contracting Officer’s attention immediately.

9.5		The Contractor shall indemnify and hold the Contracting Authority, and his representatives, harmless against claim for injury to persons, damages to the Contractor’s property or others arising from the Contractor’s possession or use of the Contracting Authority’s furnished property, including facilities and utilities.

9.6	The Contractor shall observe at all time health and safety regulations, applicable at the moment of contract performance and in accordance with laws and regulations of the State of performance and other standards specified in the Contract. If the Contractor fails to observe those obligations, the Contracting Authority represented by the Contracting Officer, may suspend the execution of the Contract until satisfactory corrective action has been taken. Such suspension shall not entitle the Contractor to an adjustment of his contract price resulting from increased costs or to an extension of the performance period.

#### Article 10	Performance guarantee

10.1	The Contractor shall, at the moment of contract signature, furnish the Contracting Authority with a guarantee for the full and proper performance of the contract. The amount of the guarantee shall be specified in the Special Conditions. It shall not exceed 10% of the amount of the contract price, including any amounts stipulated in further modifications to the contract.

10.2	The performance guarantee shall be held against payment to the Contracting Authority for any loss resulting from the Contractor's failure to perform his contractual obligations fully and properly.

10.3	The performance guarantee shall be in the format given in Part C of the original bidding dossier and shall be provided in the form of a bank guarantee. It shall be issued by a bank or financial institution from a State in accordance with the eligibility criteria applicable for the original award of the contract.

10.4	The performance guarantee shall be denominated in the currency in which the contract is payable. No payments shall be made in favour of the Contractor prior to the provision of the guarantee. The guarantee shall continue to remain valid until the contract has been fully and properly performed.

10.5	The Contracting Authority shall demand payment from the guarantee of all sums for which the guarantor is liable under the guarantee due to the Contractor's default under the contract, in accordance with the terms of the guarantee and up to the value thereof. The guarantor shall, without delay, pay those sums upon demand from the Contracting Authority and may not raise any objection for any reason whatsoever. Before making any claim under the performance guarantee, the Contracting Authority shall notify the Contractor stating the nature of the default in respect of which the claim is to be made.

10.6	Except for such part as may be specified in the Special Conditions in respect of professional warranty on the services performed, the performance guarantee shall be released within 30 days of the issue of the provisional acceptance of the services.

#### Article 11	Insurance

11.1	An indemnity insurance policy for a sum up to the higher of the maximum amount foreseen by the legislation of the State of contract performance or the amount foreseen by the legislation of the State of origin of the Contractor.

The indemnity insurance shall cover;

- the Contractor’s liability in respect of sickness or industrial accident affecting its employees, including costs of potential medical repatriation;

- loss of, or damage to, the Contracting Authority’s equipment used to perform the Contract;

- civil liability in the event of accidents caused to third parties or to the Contracting Authority and any employee of that Authority arising out of the performance of the Contract;

- accidental death or permanent disability resulting from bodily injury incurred in connection with the Contract.

The Contractor shall furnish proof of the insurance policy without delay whenever to do so by the Contracting Authority.

Further conditions of this insurance policy may be specified in the Special Conditions, which may also specify other types of insurance to be taken out by the Contractor.

11.2	For the period of contract implementation, the Contractor shall obtain medical insurance for all his personnel employed or contracted under the Contract. The Contracting Authority shall bear no liability in respect of medical and other social security expenses of the Contractor.

11.3	Notwithstanding the Contractor's insurance obligations under Article 11.1 and 11.2, the Contractor shall bear sole liability for, and indemnify the Contracting Authority and his representatives against, any claims by third parties for damage to property or personal injuries arising from the execution of the contract by the Contractor, his subcontractors and their employees.

#### Article 12	Performance programme

12.1	If the Special Conditions so require, the Contractor shall submit a programme of performance of the contract for the approval of the COR. The programme shall contain at least the following:

a) any supplement or addendum made to the methodology (Annex III);

b) the deadlines for submission and approval of certificates and reports;

c) such further details and information as the COR may reasonably require.

12.2	The Special Conditions shall specify the time limit within which the programme of performance must be submitted to the COR for approval. They may set time limits within which the Contractor must submit all or part of the detailed drawings, documents and reports. They shall also state the deadline for the Contract Officer’s Representative approval or acceptance of the programme of performance, detailed drawings, documents and reports. The approval of the programme by the COR shall not relieve the Contractor of any of his obligations under the contract.

12.3	No material alteration to the programme shall be made without the approval of the COR. Such alteration may not involve a price increase.

#### Article 13	Intellectual and industrial property rights

13.1	All reports and data such as maps, diagrams, drawings, specifications, plans, statistics, calculations, databases, software and supporting records or materials acquired, compiled or prepared by the Contractor in the performance of the Contract shall be the sole property of the Contracting Authority, unless otherwise specified. The Contractor shall, upon completion of the services, deliver all such documents and data to the Contracting Authority. The Contractor may not retain copies of such documents and data and shall not use them for purposes unrelated to the contract without the prior written consent of the Contracting Authority.

13.2	The Contractor shall not publish articles related to the services or refer to them when carrying out any services for others, or divulge information obtained from the Contracting Authority.

13.3	Any results or rights thereon, including copyright and other intellectual or industrial property rights, obtained during the performance of the Contract, shall be the absolute property of the Contracting Authority; which may use, publish, assign or transfer them as it sees fit, without geographical or other limitation, except where intellectual or industrial property rights already exist.

#### Article 14	Sufficiency of contract prices

14.1	Subject to any provisions which may be laid down in the Special Conditions, the contract prices shall be firm and fixed, the Contractor shall be deemed to have satisfied himself before submitting his bid as to the correctness and sufficiency of his financial bid and to have taken account of all that is required for the full and proper performance of the contract and to have included in his rates and prices all costs related to the services to be provided in accordance with the Contract.

14.2	Since the Contractor is deemed to have determined his prices on the basis of his own calculations, operations and estimates, he shall, at no additional charge, carry out any work that is the subject of any part of the services in his bid for which he indicates neither a unit price nor a lump sum. The Contracting Authority shall not bear any costs related to financial guarantees, which the Contractor is required to provide under this Contract.

14.3	The Contractor warrants that the prices set forth in this contract are as favourable as those extended to any Government, Agency, Company or Organization for similar services covered by this contract under similar conditions. In the event that the Contractor offers substantially similar services in substance, expertise and quantities, for lower prices than those set forth in this contract prior to its completion; the Contractor shall notify the Contracting Officer and the prices of such services shall be correspondingly reduced by a modification to this contract.

#### Article 15	Tax and customs arrangements

15.1	The services covered by the Contract shall be exempt from all duties and taxes, including VAT. The special conditions shall further specify if any agreements and procedures are in place between the Contracting Authority and the State where the services are performed.

15.2	For supplies or parts manufactured locally, and integral part of the scope of the service contract, all internal fiscal charges applicable to their manufacture shall be excluded.

15.3	For supplies or parts to be imported to the country of performance, and integral part of the scope of the service contract, all duties and taxes applicable to their importation, including VAT shall be excluded.

15.4	Whatever the origin of those parts or supplies specified in Article 15.2 and 15.3, the contract shall be exempt from stamp and registration duties.

15.5 	The Special Conditions shall outline further procedural requirements, if applicable

### COMMENCEMENT OF EXECUTION AND DELAYS

#### Article 16	Notification to proceed

16.1	The Contracting Authority shall fix the date on which performance of the contract is to commence and advise the Contractor thereof either in the notice of award of the contract or by an administrative order issued by the COR. The performance of the contract shall not start before the contract has been signed by both parties.

16.2   	If no indication of a commencement order has been made in the contract or the notice of award; the performance of the contract shall start the next day of contract signature by both parties.

#### Article 17	Period of execution of tasks

17.1	The period of execution of tasks shall commence on the date fixed in accordance with Article 16 and shall be as stated in the contract, without prejudice to extensions of the period which may be granted under Article 18.

17.2	If provision is made for separate periods of performance for separate lots, such periods shall not be aggregated in cases where one Contractor is allocated more than one lot.

#### Article 18	Extension of the period of execution

18.1	The Contractor may request an extension to the period of execution if his performance of the contract is delayed, or expected to be delayed, for any of the following reasons:

a) extra or additional services ordered by the Contracting Authority;

b) physical obstructions or conditions which may affect the performance of the services, which could not reasonably have been foreseen by a competent contractor;

c) administrative orders affecting the date of completion other than those arising from the Contractor's default;

d) failure of the Contracting Authority to fulfil its obligations under the contract;

e) any suspension of the services which is not due to the Contractor's default;

f) force majeure;

g) any other causes referred to in these General Conditions which are not due to the Contractor's default.

18.2	Within 10 days of realising that a delay might occur, the Contractor shall notify the COR of his intention to make a request for extension of the period of performance to which he considers himself entitled and provide the COR with comprehensive details so that the request can be examined.

18.3	The COR shall, by written notice inform the Contract Officer and provide his opinion. The Contract Officer shall, where appropriate, grant such extension of the period of performance as may be justified, either prospectively or retrospectively, or inform the Contractor that he is not entitled to an extension. An approved extension shall result in a Contract modification. The extension of the period of performance shall be contractually valid on the day of signature of the related Contract modification.

#### Article 19	Delays in execution

19.1	If the Contractor does not perform the services within the performance period specified in the Contract, the Contracting Authority shall, without formal notice and without prejudice to its other remedies under the Contract, be entitled to liquidated damages for every day, or part thereof, which shall elapse between the end of the period of implementation of tasks specified in the Contract and the actual end of the period of implementation of tasks.

19.2	The daily rate for liquidated damages is 0.2% of the contract value up to a maximum of 10% of the contract value.

19.3	If the Contracting Authority has become entitled to claim at least 10% of the contract value it may, after giving written notice to the Contractor:

-	seize the performance guarantee;

-	terminate the contract, in which case the Contractor will have no right to compensation; and

-	enter into a contract with a third party for the completion of the services. The Contractor shall not be paid for this part of the contract. The Contractor shall also be liable for the additional costs and damages caused by his failure.

#### Article 20	Variations and Modifications

20.1	If a variation or modification, falls out of the scope of the Contract, than the COR shall advise the Contracting Officer to order a variation or modification to any part of the services necessary for the proper implementation of the contracted services. Such variations may include additions, omissions, substitutions and changes in quality, quantity, form, character, kind, as well as drawings, methodology, terms of reference or timing of execution of the services. Such variations shall be endorsed by the Contracting Officer, where deemed appropriate, and always be subject of a Contract Modification which shall be signed by the Contracting Authority and the Contractor, before entering in force. The Contractor shall refrain of executing variations before a Contract Modification has been duly approved and signed.

20.2	  If any such variation causes a price increase or decrease, a change of Key Experts (Annex IV) or a change of the performance time under this Contract; a negotiated adjustment shall be made in the Contract price and/or period of execution of services, and the Contract shall be modified through a Contract modification pursuant Article 20.1.

20.3	Prior to issuing a Contract Modification for a variation pursuant Article 20.1 and 20.2, the Contractor shall submit to the COR and Contracting Officer a proposal containing:

-	a description of the tasks, if any, to be performed or the measures to be taken and a performance programme;

-	any necessary modifications to the performance programme or to any of the Contractor's obligations under the contract;

-	any adjustment to the contract price in accordance with the rules set out in Article 20.5

20.4	Following the receipt of the Contractor's submission referred to in Article 20.3, the COR shall, after due consultation with the Contracting Officer and, where appropriate, the Contractor, decide as soon as possible whether or not the variation should be carried out.

20.5	The prices for all variations in accordance with Articles 20.2 and 20.3 shall be ascertained by the COR and subject of a Contract Modification by the Contracting Officer in accordance with the following principles:

-	where the task is of similar character and executed under similar conditions to a service priced in the financial offer (Annex V), it shall be valued at such rates and prices contained therein;

-	where the task is not of similar character or is not executed under similar conditions, the rates and prices in the contract shall be used as the basis for valuation in so far as is reasonable; failing that, a fair valuation shall be made by the Contracting Officer;

-	if the nature or amount of any variation relative to the nature or amount of the whole of the contract or to any part thereof is such that, in the opinion of the Contracting Officer, any rate or price contained in the contract for any item of work is by reason of such variation rendered unreasonable, then the Contracting Officer shall fix such rate or price as he thinks reasonable and proper in the circumstances;

-	where a variation is necessitated by a default or breach of contract by the Contractor, any additional cost attributable to such variation shall be borne by the Contractor.

20.6	Failure of the parties to agree to the prices of a variation shall be settled through the procedure foreseen under the Dispute Settlement Articles of these General Conditions. However, settlement through the dispute clauses shall not relieve the Contractor from proceeding with the Contract performance as originally foreseen by the contract, unless a suspension order is issued by the Contracting Officer pursuant Article 21.

20.7	Changes of address or bank account may simply be notified in writing, accompanied by a new Financial Identification Form, by the Contractor to the Contracting Officer.

#### Article 21	Suspension Order

21.1	The Contracting Officer may, by a suspension order, at any time, instruct the Contractor, by written order to suspend the services or a part thereof.

21.2	The period of suspension shall not exceed 90 days, unless any extension has been agreed between both parties; within this period of 90 days after a stop work order.

21.3	Within the period of 90 days or within any extension period agreed by both parties; the Contracting Officer shall either:

a)	Cancel the suspension order, and allow the contract performance to resume; or

b)	Terminate the contract for the convenience of EUFOR, allowing the contractor to claim the costs for the performed services until the suspension order was issued.

Where the performance of the contract is allowed to be resumed, pursuant article 21.3 a), the Contractor may request an equitable adjustment of the period of performance and the contract will be modified accordingly.

21.4	Where the award procedure or performance of the contract is vitiated by substantial errors or irregularities or by fraud, the Contracting Authority shall suspend performance of the contract. Where such errors, irregularities or fraud are attributable to the Contractor, the Contracting Authority may also refuse to make payments or may recover monies already paid, in proportion to the seriousness of the errors, irregularities or fraud.

The purpose of suspending the contract shall be to verify whether presumed substantial errors and irregularities or fraud have actually occurred. If they are not confirmed, performance of the contract shall resume as soon as possible. A substantial error or irregularity shall be any infringement of a contract or regulatory provision resulting from an act or an omission that causes or might cause a loss to the EUFOR budget and/or prevent fair competition.

### SERVICES AND VERIFICATION

#### Article 22	Quality of the services

22.1	The services provided must in all respects satisfy the Terms of reference (Annex II) and Methodology (Annex III) laid down in the contract and conform in all respects to the drawings, surveys, professional standards and other requirements in the contract, which must be held at the disposal of the Contracting Authority and the COR for the purposes of identification throughout the period of contract performance.

22.2	Any preliminary technical acceptance of maintenance, services, spare parts, documents, reports, drawings or designs stipulated in the Special Conditions should be the subject of a request sent by the Contractor to the COR. Those must be certified by the COR as meeting the requirements for such acceptance prior to the pursuit of the services related to a preliminary acceptance

#### Article 23	Inspection and information

23.1	The Contractor shall provide the COR or any person authorised by the Contracting Authority with any information related to the services as may be requested at any time.

23.2	The COR shall be entitled to inspect the progress of the services performed and order rectifications would the services not be performed in accordance with the Contract.

### PAYMENTS AND ACCEPTANCE

#### Article 24	General principles

24.1	Payments shall be made in euro or national currency, as specified in the Contract. The Special Conditions shall lay down the administrative or technical conditions governing payments of advance payments, interim and/or final payments made in accordance with the General Conditions. Payments shall be executed based on original invoices which shall contain: the contract number, item(s) description of provided services, quantities, and unit prices exclusive VAT and other tax and duties, and the extended totals. Invoices shall be signed by the Contractor’s authorized representative.

24.2	Payments due by the Contracting Authority shall be made to the bank account specified on the financial identification form completed by the Contractor. The same form, annexed to the payment request, must be used to report changes of bank account. Each party shall bear its own costs and charges for bank transfers related to any and all payments under this Contract.

24.3	Sums due shall be paid within 30 calendar days from the date on which an admissible payment request is registered by the competent department specified in the Special Conditions. The date of payment shall be the date on which the institution's account is debited. The payment request shall not be admissible if one or more essential requirements are not met. Payments, with exception of the advance payment, shall be made exclusively for services effectively executed and performed in accordance with the Contract.

24.4	The 30-day period may be suspended by notifying the Contractor that the payment request cannot be fulfilled because the invoice does not fulfil the conditions outlined in Article 24.1 or the sum is not due or because appropriate substantiating documents have not been provided or because there is evidence that the expenditure might not be eligible. In the latter case, an inspection may be carried out on the spot for the purpose of further checks. The Contractor shall provide clarifications, modifications or further information within 30 days of being asked to do so. The payment period shall continue to run from the date on which a properly drawn-up payment request is registered.

24.5	The payments shall be made following the payment schedule specified in the Special Conditions. But shall not exceed the following maximum;

a) A maximum 30% of the contract price after the signing of the contract, against provision of an advance payment bond security guaranteeing repayment in full of the advance payment.

b) A maximum 90% of the contract price following provisional acceptance of the services, deducted proportionally by the advance payment if any;

c) 10% of the contract price, as payment of the balance outstanding, following final acceptance of the services. However, this payment of 10% may, if the Contractor so wishes, be made at the same time as the instalment referred to in paragraph 24.5.b if the Contractor provides a security guaranteeing repayment of the full amount of the 10% balance. The security shall be released within 60 days of the final acceptance of the services.

24.6	Where only part of the services has been provided, the payment due following partial provisional acceptance shall be calculated on the value of the services which have actually been accepted and the security shall be released accordingly. This article is only applicable if the reason of partial performance is due to the Contracting Authority’s request and/or the prices of the services are broken down as such in the financial offer (Annex V).

24.7	Unless otherwise stipulated in the Special Conditions, contracts shall be at fixed prices, which shall not be revised.

24.8	The Contractor undertakes to repay any amounts paid in excess of the final amount due to the Contracting Authority within 45 days of receiving a request to do so, under the form of a recovery order.

Amounts to be repaid to the Contracting Authority may be offset against amounts of any kind due to the Contractor. This shall not affect the Parties' right to agree on payment in instalments. Bank charges incurred by the repayment of amounts due to the Contracting Authority shall be borne entirely by the Contractor.

#### Article 25	Interim and Final Report

25.1	The Contractor shall draw up interim progress reports during contract implementation and a final report upon completion of the services. Those reports shall consist of a narrative outline of the services achieved during the related period. The Special Conditions shall specify the frequency of the reports and other requirements, if any.

25.2 	Pursuant Article 25.1 of the General and Special Conditions all invoices and payment requests referred to in Article 24, shall be accompanied by an interim report and final report for final payment.

25.3 	Before being submitted as part of the payment request and invoice, the reports shall be verified and approved by the COR, and as such certify that the services have been performed and comply with the Terms of Reference.

25.4	For such cases where the Special Conditions do not require reports to be submitted; the Contractor shall in such cases obtain a written statement from the COR, certifying that the services have been performed in accordance with the Terms of reference.

#### Article 26	Provisional acceptance

26.1	Provisional acceptance shall occur when the final report is approved by the COR subject to amendments to be made by the Contractor. The Contracting Authority shall prescribe a period for making the amendments requested.

26.2	Where the final report is not approved following provisional acceptance, the dispute settlement procedure shall be automatically invoked.

#### Article 27	Final acceptance

27.1	Final acceptance shall occur when the final report is approved by the Contracting Authority, without any further amendments, observation or rectifications. Or otherwise, where provisional acceptance pursuant Article 26.1 has taken place, after the amendments have been implemented to the satisfaction of the Contracting Authority and in compliance with the Terms of reference.

#### Article 28	Quality warranty obligations

28.1	The Contractor must provide services to the best professional standards applicable for his profession, and shall rectify after final acceptance, up to one year after final acceptance, any shortcomings or defects as a direct result of the services he has performed.

28.2	In order to invoke quality warranty obligations, the Contracting Authority must demonstrate beyond reasonable doubt to the Contractor that shortcomings or defects are a direct result of faulty services provided by the Contractor.

### BREACH OF CONTRACT AND TERMINATION

#### Article 29	Breach of contract

29.1	A Party shall be in a breach of contract if it fails to discharge any of its obligations under the contract.

29.2	Where a breach of contract occurs, the injured Party shall be entitled to the following remedies:

a)	damages; and/or

b)	termination of the contract.

29.3		In addition to the above-mentioned measures, damages may be awarded. They may be either:

a) general damages; or

b) liquidated damages.

The amount and procedures for these damages shall be laid down in the Special Conditions.

29.4	Recovery of damages, disbursements or expenses resulting from the application of measures provided for in this Article shall be executed by deduction from the sums due to the Contractor, from the deposit, or by payment under the guarantee.

#### Article 30	Termination by the Contracting Authority

30.1	The Contracting Authority may, after giving the Contractor seven days' notice, terminate the contract for default in any of the following cases:

a)	the Contractor substantially fails to perform his obligations under this contract;

b)	the Contractor fails to comply within a reasonable time with a notice given by the COR or contracting Officer requiring him to make good any neglect or failure to perform his obligations under the contract which seriously affects the proper and timely performance of the contract;

c)	the Contractor refuses or neglects to carry out administrative orders given by the COR or Contracting Officer;

d)	the Contractor assigns the contract or subcontracts without the authorisation of the Contracting Authority;

e)	the Contractor is bankrupt or being wound up, is having its affairs administered by the courts, has entered into an arrangement with creditors, has suspended business activities, is the subject of proceedings concerning those matters, or is in any analogous situation arising from a similar procedure provided for in national legislation or regulations;

f)	the Contractor has been guilty of grave professional misconduct proven by any means which the Contracting Authority can justify;

g)	the Contractor has been the subject of a judgment for fraud, corruption, involvement in a criminal organisation or any other illegal activity detrimental to the Contracting Authority’s financial interests;

h)	the Contractor, following another procurement procedure or Contract financed by the Contracting Authority, has been declared to be in serious breach of contract for failure to perform its contractual obligations;

i)	any organisational modification occurs involving a change in the legal personality, nature or control of the Contractor, unless such modification is recorded in a modification to the contract;

j)	any other legal disability hindering performance of the contract occurs;

k)	the Contractor fails to provide the required guarantee or insurance, or if the person providing the earlier guarantee or insurance required under the present contract is not able to abide by his commitments.

30.2	The Contracting Authority may, after giving the Contractor seven days' notice, terminate the contract for convenience of EUFOR. The performance under the Contract may be terminated for convenience by the Contracting Authority in its whole or partly, whenever the Contracting Officer determines that such termination is in the best interest of EUFOR, which includes also when military forces are withdrawn or reduced, or when the concerned Headquarter is being closed. Such termination notice shall define to which extend the performance under the Contract is terminated and the date upon which the termination becomes effective.

30.3	After reception of a notice of termination for default or convenience, the Contractor shall stop performance under the Contract on the date and to the extend specified in the notice of termination. The Contractor shall place no further orders and/or sub-contracts and terminate all orders and sub-contracts for materials, services or facilities, except as may be required for the completion of such portion of works as per contract and not subject of termination.

The Contractor shall settle all liabilities and claims arising out of such termination of orders and sub-contracts, with the approval and endorsement of the Contracting Officer.

The Contractor shall transfer ownership and deliver to the Contracting Authority in the manner, at the times, and to the extend, if any, directed by the Contracting Officer; the fabricated parts, work in process, completed works, and the completed or partially completed plans, drawings and other information, which, if the Contract had been completed, would have been required.

In cases of partial termination, the Contractor shall complete the performance of such part of the contract performance which is not subject to the notice of termination.

30.4	Termination shall be without prejudice to any other rights or powers of the Contracting Authority and the Contractor under the contract. The Contracting Authority may, thereafter, conclude any other contract with a third party on behalf of the Contractor. The Contractor's liability for delay in completion shall immediately cease upon termination without prejudice to any liability there under that may already have occurred.

30.5	The Contracting Officer shall pursuant Article 30 and upon the issue of the notice of termination of the contract, instruct the Contractor to take immediate steps to bring the performance of the services to a close in a prompt and orderly manner and to reduce expenditure to a minimum.

30.6	In the event of termination, the COR shall, as soon as possible and in the presence of the Contractor or his representatives or having duly summoned them, draw up a report on the services performed. A statement shall also be drawn up of monies due to the Contractor and of monies owed by the Contractor to the Contracting Authority as at the date of termination of the contract. This report shall be endorsed by the Contracting Officer.

30.7	The Contracting Authority shall not be obliged to make any further payments to the Contractor until the services are completed, whereupon the Contracting Authority shall be entitled to recover from the Contractor the extra costs, if any, of performing the services or shall pay any balance due to the Contractor prior to the termination of the contract.

30.8	If the Contracting Authority terminates the contract it shall be entitled to recover from the Contractor any loss it has suffered under the contractual conditions.

30.9	This contract shall be automatically terminated if it has given risen to no payment in the two years following its signing.

#### Article 31	Termination by the Contractor

31.1	The Contractor may, after giving 14 days notice to the Contracting Authority, terminate the contract if the Contracting Authority:

-	fails to pay the Contractor the amounts due after final acceptance and pursuant Article 24 and 27 of the General Conditions;

-	suspends the performance of the services, or any part thereof, for more than 90 days or any longer period as agreed in accordance with article 21 and for reasons not specified in the contract or not attributable to the Contractor.

31.2	Termination shall be without prejudice to any other rights or powers under the contract of the Contracting Authority and the Contractor.

31.3	In the event of such termination, the Contracting Authority shall pay the Contractor for any loss or damage the Contractor may have suffered within the scope of the Contract and the Contract price.

#### Article 32	Force majeure

32.1	Neither Party shall be considered to be in default or in breach of its obligations under the contract if the performance of such obligations is prevented by any event of force majeure arising after the date of notification of award or the date when the contract becomes effective, whichever is the earlier.

32.2	For the purposes of this Article, the term "force majeure" means acts of God, strikes, lock-outs or other industrial disturbances, acts of the public enemy, wars whether declared or not, blockades, insurrection, riots, epidemics, landslides, earthquakes, storms, lightning, floods, washouts, civil disturbances, explosions and any other similar unforeseeable events which are beyond the Parties' control and cannot be overcome by due diligence. Cases of “force majeure” must be confirmed in writing by the Contract Officer before being applicable.

32.3	Notwithstanding the provisions of Articles 19 and 30, the Contractor shall not be liable to forfeiture of his performance guarantee, liquidated damages or termination for default if, and to the extent that, his delay in performance or other failure to perform his obligations under the contract is the result of an event of force majeure.

32.4	If either Party considers that any circumstances of force majeure have occurred which may affect performance of its obligations, it shall promptly notify the other Party and the Contracting Officer, giving details of the nature, the probable duration and the likely effect of the circumstances. Unless otherwise directed by the Contracting Officer in writing, the Contractor shall continue to perform his obligations under the contract as far as is reasonably practicable, and shall employ every reasonable alternative means to perform any obligations that the event of force majeure does not prevent him from performing. The Contractor shall not employ such alternative means unless directed to do so by the Contracting Officer.

32.5	If the Contractor incurs additional costs in complying with the Contracting officer's directions or using alternative means under Article 32.4, the amount thereof shall be certified by the COR and the Contracting Officer.

32.6	If circumstances of force majeure have occurred and continue for a period of 180 days then, notwithstanding any extension of time for completion of the contract that the Contractor may by reason thereof have been granted, either Party shall be entitled to serve the other with 30 days' notice to terminate the contract. If, on the expiry of the period of 30 days, the situation of force majeure still applies, the contract shall be terminated and, the Parties shall be released from further performance of the contract.

### DISPUTE SETTLEMENT

#### Article 33	Amicable dispute settlement

The Parties, represented by the Contractor’s authorized representative and the Contracting Officer, shall make every effort to settle amicably any dispute which may arise between them. Once a dispute has arisen, the Parties shall notify each other in writing of their positions on the dispute and any solution which they consider possible. If either Party deems it useful, the Parties shall meet and try and settle the dispute. A Party shall respond to a request for amicable settlement within 30 days of such a request. The maximum period laid down for reaching such a settlement shall be 90 days from the commencement of the procedure. Should the attempt to reach an amicable settlement fail or a Party fail to respond in time to requests for a settlement, either Party shall be free to proceed to the next stage of the dispute-settlement procedure by notifying the other.

#### Article 34	Dispute settlement by litigation

If no settlement is reached within 90 days of the start of the amicable dispute-settlement procedure, each Party may seek:

-	the ruling from the court in accordance with the law applicable specified in the Special Conditions.

### ETHICS CLAUSES

#### Article 35	Ethics clauses

35.1	Without the Contracting Authority's prior written authorisation, a Contractor and his staff or any other company with which the Contractor is associated or linked may not, even on an ancillary or subcontracting basis, supply other services, carry out works or supply equipment for the project which is out of the scope of the Contract.

35.2	This prohibition also applies to any other contract or projects that could, owing to the nature of the contract, give rise to a conflict of interest on the part of the Contractor.

35.3	When putting forward a candidacy or bid, the candidate or bidder shall declare that he is affected by no potential conflict of interest and has no particular link with other bidders or parties involved in the project. Should such a situation arise during performance of the contract, the Contractor must immediately inform the Contracting Authority.

35.4	The Contractor must at all time act impartially and as a faithful adviser in accordance with the code of conduct of his profession. He shall refrain from making public statements about the project or services without the Contracting Authority's prior approval. He may not commit the Contracting Authority in any way without its prior written consent.

35.5	For the duration of the contract the Contractor and his staff shall respect human rights and undertake not to offend the political, cultural and religious mores of the state where the Contract is performed.

35.6	The Contractor may accept no payment connected with the contract other than that provided for therein. The Contractor and his staff must not exercise any activity or receive any advantage inconsistent with their obligations to the Contracting Authority.

35.7	The Contractor and his staff shall be obliged to maintain professional secrecy for the entire duration of the contract and after its completion. All reports and documents drawn up or received by the Contractor shall be confidential.

35.8	The contract shall govern the Parties' use of all reports and documents drawn up, received or presented by them during the execution of the contract.

35.9	The Contractor shall refrain from any relationship likely to compromise his independence or that of his staff. If the Contractor ceases to be independent, the Contracting Authority may, regardless of injury, terminate the contract without further notice and without the Contractor having any claim to compensation.

35.10	The Contracting Authority reserves the right to suspend or cancel the Contract if corrupt practices of any kind are discovered at any stage of the award process and/or contract implementation. For the purposes of this provision, "corrupt practices" are the offer of a bribe, gift, gratuity or commission to any person as an inducement or reward for performing or refraining from any act relating to the award of a contract and/or implementation of a contract already concluded with the Contracting Authority.

35.11	The Contracting Authority reserves the right to suspend or cancel a Contract if unusual commercial expenses are discovered. Unusual commercial expenses are commissions not mentioned in the main contract or not stemming from a properly concluded contract referring to the main contract, commissions not paid in return for any actual and legitimate service, commissions remitted to a tax haven, commissions paid to a recipient who is not clearly identified or commissions paid to a company which has every appearance of being a front company.

35.12	The Contractor undertakes to supply the Contracting Authority and officially appointed auditors, on request with all supporting documents relating to the conditions of the contract's execution. The Contracting Authority or officially appointed auditors may carry out whatever documentary or on-the-spot checks it deems necessary to find evidence in cases of suspected unusual commercial expenses. Such demonstrated expenses will allow the Contracting Authority to issue a recovery order for the unusual commercial expenses.

35.13	The Contracting Authority reserves the right, upon receipt of reliable evidence which indicates with reasonable certainty that either the Contractor or any of the Contractor’s representatives are or have been engaged in smuggling activities in any way related to this Contract to:

(a) Terminate and cancel the Contract for default;

(b) Have any goods related to such smuggling seized and transferred to the competent Authorities for further action;

(c)  Exclude the Contractor from any other Contracts financed by the Contracting Authority.

35.14	The Contractor shall fulfil its obligations in terms of health and social contribution to his employees as foreseen by the national legislation where the Contractor is established.

#### Article 36	Examination of records and audits

36.1	This clause shall be applicable to the subject Contract only, and if;

(a) the price, or any of the prices to be paid under this service Contract are other than firm fixed prices, or

(b) the Contract is terminated by the Contracting Authority and the Contractor submits a termination claim as a result thereof, or

(c) a dispute arises between the parties pursuant Article 33 and 34.

36.2	Pursuant Article 36.1, the Contractor will allow the Contracting Authority and officially appointed auditors to verify, by examining the documents or by means of on-the-spot checks, the implementation of the contract and conduct a full audit, if necessary, on the basis of supporting documents for the accounts, accounting documents and any other document relevant to the Contract. These inspections may take place up to 5 years after the final payment.

36.3	To this end, the Contractor undertakes to give appropriate access to authorised staff or agents of the Contracting Authority to the sites and locations at which the Contract is carried out, including all documents and databases concerning the technical and financial management of the project and to take all steps to facilitate their work.  Access given to auditors shall be on the basis of confidentiality with respect to third parties, without prejudice to the obligations of public law to which they are subject.  Documents must be easily accessible and filed so as to facilitate their examination and the Contractor must inform the Contracting Authority of their precise location.

36.4	The Contractor guarantees that the rights of the Contracting Authority to carry out audits, checks and verification will be equally applicable, under the same conditions and according to the same rules as those set out in this Article, to any sub-contractor.

# TERMS OF REFERENCE – LOT 1

# MODIFICATION 1

HQ EUFOR requires a certified service agent (qualified contractor) to provide scheduled and unscheduled maintenance/service of fire alarm systems to include central fire alarm system and communicators, hardware & software installed throughout Camp Butmir.

The software associated ENIGMA II, ALVIS-CZ & INTEGRA SECURITY and detector systems providers, MENVIER, FIRE SENSE, BENTEL, INIM and LST.

- LOCATION AND TYPE OF EQUIPMENT

  - FIRE ALARM SYSTEM LOCATIONS

| - No. | Location | Zones/ loop | Number of elements | System type | Manufacturer |
| --- | --- | --- | --- | --- | --- |
| 1 | B101 - DFAC | 1 | 106 | addressable | LST |
| 2 | B114 - MAP DEPO | 4 | 24 | conventional | MENVIER MF9308 |
| 3 | B115 - ENG. WHSE | 5 | 30 | conventional | BENTEL J-408 |
| 4 | B116 - DEPO 22 | 4 | 24 | conventional | FIRE SENSE |
| 5 | B119 - LAUNDRY | 4 | 16 | conventional | BENTEL J-408 |
| 6 | B201 - GUARD, B201-A -ALPHA, B201-B- COM NATO | 9 | 85 | addressable | LST BC-216-1 |
| 7 | B-201- C COM EUFOR | 1 | 3 | conventional | BENTEL J-506F |
| 8 | B205 - MEDCELL | 4 | 16 | conventional | BENTEL J-408 |
| 9 | B208 - NEW GYM | 6 | 42 | conventional | LST BG-216 |
| 10 | B212 | 1 | 77 | addressable | LST-BC 2016-1 |
| 11 | B227 | 4 | 60 | conventional | MENVIER MF9308 |
| 12 | B228 | 4 | 60 | conventional | BENTEL J-408 |
| 13 | B233 | 4 | 60 | conventional | BENTEL |
| 14 | B234 | 4 | 60 | addressable | BENTEL MF 9308 |
| 15 | B242 | 1 | 10 | addressable | BC 600-12 LST |
| 16 | HANGAR I - DUTY ROOM | 4 | N/A | conventional | INIM |
| 17 | HANGAR II - DUTY ROOM | 4 | N/A | conventional | BENTEL J-408 |

- CENTRAL FIRE ALARM MANAGEMENT SYSTEM

- CENTRAL FIRE NOTIFICATION SYSTEM  I -  covering buildings B200, PSOTC and DFAC – FIRE STATION

Fire management System base station:

  - producer LST - Austria

  - software management ALVIS – CZ

- CENTRAL FIRE NOTIFICATION SYSTEM II -covering all other locations in HQ (accommodations buildings, B103, NSE. etc).

- Fire management System base station:

  - Enigma II digital receiver

  - software PACKAGE : IIT DC DISCOVERY PRO

- CENTRAL MANAGEMENT COMMUNICATION SYSTEM  – FIRE STATION I

  - GT. Communicator BENTAL (3 units) + S LINK GSM (66 units)

  - Hardware & software management INTEGRA SECURITY – Slo

- SCHEDULED MAINTENANCE

- FIRE ALARM SYSTEMS

The contractor is required to complete and certify annual scheduled maintenance (preventive) within a 12 month period on the equipment in locations listed above.

Following service must be completed:

- Testing of digital control panels for each independent fire alarm system

- Testing of analogue/digital smoke/heat detectors

- Testing of back up batteries installed in each  fire alarm MCC panel

- Testing of  external/internal sirens for fire alarm system

- Testing of manual alarm call points (wall installed)

- Testing of fire alarm system cables (visual)

- Following completion of required maintenance, written report (English language) will be issued by contractor to COR.

- Report to include the following information:

  - Equipment make, model and serial number

  - Year of production

  - Status, function status to include malfunctions

  - Testing equipment type and valid certifications

  - Additional works required during service

  - Individual certificates required for each building, certified by inspecting engineer team supervisor who completed inspection.

- CENTRAL FIRE ALARM MANAGEMENT SYSTEM TO INCLUDE COMMUNICATORS

The contractor is required to complete and certify scheduled maintenance (preventive) every 6 months of the equipment listed above (under 2), to include all communicators on site on Mission Assets (not including NSE, NIC or concessionaire facilities)

Following services to be completed:

- Testing of central fire alarm monitoring system to ensure active communication with each building to control room in the Fire Station

- Testing of hardware elements installed

- Testing of software functionality

- Testing of back up batteries installed in each GT communicator

- Visual check of associated cabling

- Following completion of required maintenance, written report (English language) will be issued by contractor to COR.

Report to include the following information:

- Equipment make, model and serial number

- Year of production

- Status, function status to include malfunctions

- Testing equipment type and valid certifications

- Additional works required during service

- Individual certificates required for each building, certified by inspecting    engineer team supervisor who completed inspection.

.

- UNSCHEDULED MAINTENANCE (EMERGENCY CALLS)

The Contractor must be available 24 hours/day, 7 days/week for emergency call.

- The contractor shall provide unscheduled maintenance (emergency calls) of the equipment listed in article 1. and 2. on emergency basis  only in case malfunction of equipment.

- Unscheduled maintenance (emergency calls) must include all services not covered by scheduled maintenance through communication with Calling Officer (CO).

Following communication from Calling officer (direct contact), contractor must provide emergency service within the 6 hours. If the maintenance/service call requires a spare part/s replacement, it must be approved in advance by the CO. All spare parts must be original with written certificates provided to CO following completion of task.

# TERMS OF REFERENCE – LOT 2

HQ EUFOR requires a certified service agent (qualified contractor) to provide scheduled and unscheduled maintenance/service (required by EU NORM EU BS 54-7) of the fire alarm systems, including fire suppression systems,  located in the various buildings within Camp Butmir and Bistrik Barracks, Sarajevo.

- LOCATION AND TYPE OF EQUIPMENT

  - FIRE ALARM SYSTEMS

| No. | Location | Loop | Number of elements | System type | Manufacturer |
| --- | --- | --- | --- | --- | --- |
| 1 | B0001-NAT | 1 | 42 | addressable | Siemens |
| 2 | B103 | 1 | 56 | addressable | Siemens |
| 3 | B113 - RUB HALL | 1 | 14 | addressable | Siemens |
| 4 | B209 | 1 | 60 | addressable | Siemens |
| 5 | B210 | 1 | 60 | addressable | Siemens |
| 6 | B211 | 1 | 60 | addressable | Siemens |
| 7 | B213 | 1 | 60 | addressable | Siemens |
| 8 | B214 | 1 | 60 | addressable | Siemens |
| 9 | B215 | 1 | 60 | addressable | Siemens |
| 10 | B216 | 1 | 60 | addressable | Siemens |
| 11 | B217 | 1 | 60 | addressable | Siemens |
| 12 | B218 | 1 | 60 | addressable | Siemens |
| 13 | B220 | 1 | 60 | addressable | Siemens |
| 14 | B221 | 1 | 60 | addressable | Siemens |
| 15 | B222 | 1 | 60 | addressable | Siemens |
| 16 | B224 | 1 | 60 | addressable | Siemens |
| 17 | B226 | 1 | 60 | addressable | Siemens |
| 18 | B231 | 1 | 60 | addressable | Siemens |
| 19 | B236 | 1 | 60 | addressable | Siemens |
| 20 | B237 | 1 | 60 | addressable | Siemens |
| 21 | HANGAR I | 1 | 36 | addressable | Siemens |
| 22 | HANGAR II | 1 | 24 | addressable | Siemens |
| 23 | JET FUEL FACILITY | 1 | 10 | addressable | Siemens |
| 24 | ASGR HANGAR | 1 | 24 | addressable | Siemens |
| 25 | NEW FIRE STATION | 1 | 60 | addressable | Siemens |
| 26 | APC GARAGE “A” | 1 | 20 | addressable | Siemens |
| 27 | APC GARAGE “B” | 1 | 18 | addressable | Siemens |
| 28 | B01 | 2 | 41 | addressable | Siemens |
| 29 | B02 | 2 | 45 | addressable | Siemens |
| 30 | B03 | 2 | 41 | addressable | Siemens |
| 31 | B04 | 2 | 41 | addressable | Siemens |
| 32 | B05 | 2 | 41 | addressable | Siemens |
| 33 | B06 | 2 | 41 | addressable | Siemens |
| 34 | B07 | 2 | 37 | addressable | Siemens |
| 35 | B08 | 2 | 45 | addressable | Siemens |
| 36 | B09 – CHURCH | 2 | 11 | addressable | Siemens |
| 37 | B09 | 2 | 31 | addressable | Siemens |
| 38 | B10 | 2 | 45 | addressable | Siemens |
| 39 | B11 | 2 | 45 | addressable | Siemens |
| 40 | B14 | 2 | 13 | addressable | Siemens |
| 41 | B19 | 2 | 35 | addressable | Siemens |
| 42 | B20 | 2 | 28 | addressable | Siemens |
| 43 | B21 | 2 | 31 | addressable | Siemens |
| 44 | B32, B33, B34, B35, B36 & main gate | 2 | 44 | addressable | Siemens |
| 45 | B25 | 2 | 24 | addressable | Siemens |
| 46 | B26 | 2 | 21 | addressable | Siemens |
| 47 | B219 | 4 | 60 | conventional | Siemens |
| 48 | B223 | 4 | 60 | conventional | Siemens |
| 49 | B225 | 4 | 60 | conventional | Siemens |
| 50 | B229 | 4 | 60 | conventional | Siemens |
| 51 | B230 | 4 | 60 | conventional | Siemens |
| 52 | B232 | 4 | 60 | conventional | Siemens |
| 53 | B118 – BLUE WHSE CAPITAL ITEMS | 2 | 10 | conventional | Siemens |

  - FIRE SUPPRESSION SYSTEMS

| No. | Location | Room | Panel type | Generator type/gas | Manufactured | Number of generators |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | B200 | Room 35 (32) on ceiling | BENTEL | Novec 1230 | 08/2021 | 120l 118.4kg |
| 2 | B200 | Room 35 (32) inside ceiling | BENTEL | Novec 1230 | 08/2021 | 120l 118.4kg |
| 3 | B200 | Room 31b on ceiling | BENTEL | Novec 1230 | 08/2021 | 120l 83.7kg |
| 4 | B200 | Room 31b inside ceiling | BENTEL | Novec 1230 | 08/2021 | 120l 83.7kg |
| 5 | B200 | Room 45 TC1/1 | BENTEL | Novec 1230 | 08/2021 | 67l 38.5kg |
| 6 | B200 | Room 006 TC1/2 | BENTEL | Novec 1230 | 08/2021 | 80l 76.6kg |
| 7 | B200 | Room 068 MTR on ceiling | BENTEL | Novec 1230 | 08/2021 | 67l 45.4kg |
| 8 | B200 | Room 068 MTR inside ceiling | BENTEL | Novec 1230 | 08/2021 | 67l 45.4kg |
| 9 | B200 | Room 029A MTR right on ceiling | BENTEL | Novec 1230 | 08/2021 | 67l 41.6kg |
| 10 | B200 | Room 029A MTR right inside ceiling | BENTEL | Novec 1230 | 08/2021 | 67l 41.6kg |
| 11 | B200 | Room 145 TC2/1 | BENTEL | Novec 1230 | 08/2021 | 67l 31.2kg |
| 12 | B200 | Room 106 TC2/2 | BENTEL | Novec 1230 | 08/2021 | 67l 32.2kg |
| 13 | B103 | Room 103 MTR | BENTEL | Fire pro aerosole | 12/2020 | FP 2000S |
| 14 | B103 | Room 103 Server | BENTEL | Novec 1230 | 08/2021 | 80L 60.2KG |
| 15 | B103 | Room TC1/2 | BENTEL | Fire pro aerosole | 12/2020 | FP 2000S |
| 16 | B103 | TC ROOM 1ST FLOOR | BENTEL | Novec 1230 | 04/2021 | 80L 60.2kg |
| 17 | B225 | Room T-225-1 | INIM | AR1041 | 07/2016 | 2 |
| 18 | B237 | Room 6 | BENTEL | Novec 1230 | 08/2021 | 32L 20.5kg |
| 19 | B236 | Room TCIDF | BENTEL | Novec 1230 | 08/2021 | 32L 29.1kg |
| 20 | B236 | Room 10 | Bentel | Novec 1230 | 08/2021 | 67l 30kg |
| 21 | B236 | Room 12 | Bentel | Novec 1230 | 08/2021 | 67l 30kg |
| 22 | B236 | Room 14 | Bentel | Novec 1230 | 08/2021 | 67l 30kg |
| 23 | B203 | KONTEJNER | INIM | AR1041 | 10/2015 | 2 |
| 24 | B101 | T1 - TOWER CHIMI DFAC | Siemens | Novec 1230 | 12/2018 | 32L 26.1 kg |
| 25 | B237 | Ground floor | Siemens | Novec 1230 | 12/2018 | 32L 18.7 kg |

- SCHEDULED MAINTENANCE

  - FIRE ALARM SYSTEMS (EQUIPMENT LISTED UNDER 1.1.)

The contractor is required to complete and certify annual scheduled maintenance (preventive) within a 12 months period on the equipment in locations listed above.

Following service must be completed:

- Testing of digital control panel for each independent fire alarm system

- Testing of analogue/digital smoke/heat detectors

- Testing of back up batteries installed in each singular fire alarm MCC panel

- Testing of  external/internal sirens for each fire alarm system

- Testing of manual alarm call points (wall installed)

- Visual check of associated fire alarm cabling

- Following completion of required maintenance a written report (English language) to be issued by contractor to COR.

- Report to include the following information:

  - Equipment make model and serial number

  - Year of production

  - Status, function status to include malfunction

  - Test equipment type and valid certification, etc.

  - Additional works required during service

  - Individual certificates required for each building, certified by inspecting engineer team supervisor who completed inspection

  - SUPPRESSION SYSTEM (EQUIPMENT LISTED UNDER 1.2.)

The contractor is required to complete and certify annual scheduled maintenance (preventive) within a 12 month period on the equipment listed above.

Following service to be completed:

- Testing of the digital control panel for each  fire alarm system

- Testing of analogue/digital smoke/heat detectors

- Testing of all back up batteries installed in  fire suppression  MCC panels

- Testing of external/internal sirens for each  fire alarm system

- Testing of manual alarm call points (wall installed)

- Visual check of associated cabling

- Following completion of required maintenance a written report (English language) to be issued by contractor to COR.

- Report to include the following information:

- Equipment make model and serial number

- Year of production

- Status, function status to include malfunction

- Test equipment type and valid certification, etc.

- Additional works required during service

- Individual certificates required for each building/system, certified by inspecting engineer team supervisor who completed inspection

- UNSCHEDULED MAINTENANCE (EMERGENCY CALLS)

The contractor must be available 24 24 hours/day, 7 days/week.

- The contractor shall provide unscheduled maintenance (emergency calls) of the equipment listed in article 1.1. and 1.2. on emergency basis only in case of malfunction of equipment.

- Unscheduled maintenance (emergency calls) must include all services not covered by scheduled maintenance through communication with calling officer (CO).

Following communication with Calling officer (CO) direct contact, contractor shall provide emergency service within the 6 hours. If maintenance/service call requires spare part/s replacement, it must be approved in advance by CO. All spare parts must be original with written certificated provided to CO following completion of task.

# TERMS OF REFERENCE – LOT 3

HQ EUFOR requires a certified service agent (qualified contractor) to provide scheduled and unscheduled maintenance/service (required by EU NORM EU BS 54-7) of the fire alarm systems in BLD 200 at Camp Butmir, Sarajevo.

- LOCATION AND TYPE OF EQUIPMENT

  - FIRE ALARM SYSTEMS

| No. | Location | Loop | Number of elements | System type | Manufacturer |
| --- | --- | --- | --- | --- | --- |
| 1 | B200 | 8 | 550 | addressable | Esser |

- SCHEDULED MAINTENANCE

  - FIRE ALARM SYSTEMS (EQUIPMENT LISTED UNDER 1.1.)

The contractor is required to complete and certify annual scheduled maintenance (preventive) within a 12 months period on the equipment in BLD 200 at Camp Butmir.

Following service must be completed:

- Testing of digital control panel for each independant fire alarm system

- Testing of analogue/digital smoke/heat detectors

- Testing of back up batteries installed in each singular fire alarm MCC panel

- Testing of  external/internal sirens for each fire alarm system

- Testing of manual alarm call points (wall installed)

- Visual check of associated fire alarm cabling

- Following completion of required maintenance a written report (English language) to be issued by contractor to COR.

- Report to include the following information:

  - Equipment make model and serial number

  - Year of production

  - Status, function status to include malfunction

  - Test equipment type and valid certification, etc.

  - Additional works required during service

  - Individual certificates required for each building, certified by inspecting engineer team supervisor who completed inspection

- UNSCHEDULED MAINTENANCE (EMERGENCY CALLS)

The contractor must be available 24 24 hours/day, 7 days/week.

- The contractor shall provide unscheduled maintenance (emergency calls) of the equipment listed in article 1.1. on emergency basis only in case of malfunction of equipment.

- Unscheduled maintenance (emergency calls) must include all services not covered by scheduled maintenance through communication with calling officer (CO).

Following communication with Calling officer (CO) direct contact, contractor shall provide emergency service within the 6 hours. If maintenance/service call requires spare part/s replacement, it must be approved in advance by CO. All spare parts must be original with written certificated provided to CO following completion of task.

ANNEX III: Organisation & Methodology  lot 1

To be completed by the bidder

# Rationale

- Any comments on the Terms of reference of importance for the successful execution of activities, in particular its objectives and expected results, thus demonstrating the degree of understanding of the contract. An opinion on the key issues related to the achievement of the contract objectives and expected results.

# Strategy

- An outline of the approach proposed for contract implementation.

- A list of the proposed activities considered to be necessary to achieve the contract objectives.

- In the case of a bid being submitted by a consortium, a description of the input from each of the consortium members and the distribution and interaction of tasks and responsibilities between them.

- A description of the support facilities (back-stopping) that the contractor’s team will have from the contractor during the execution of the contract.

# Timetable of activities

- The timing, sequence and duration of the proposed activities, taking into account mobilisation time.

- The identification and timing of major milestones in execution of the contract, including an indication of how the achievement of these would be reflected in any reports, particularly those stipulated in the Terms of reference.

ANNEX III: Organisation & Methodology  lot 2

To be completed by the bidder

# Rationale

- Any comments on the Terms of reference of importance for the successful execution of activities, in particular its objectives and expected results, thus demonstrating the degree of understanding of the contract. An opinion on the key issues related to the achievement of the contract objectives and expected results.

# Strategy

- An outline of the approach proposed for contract implementation.

- A list of the proposed activities considered to be necessary to achieve the contract objectives.

- In the case of a bid being submitted by a consortium, a description of the input from each of the consortium members and the distribution and interaction of tasks and responsibilities between them.

- A description of the support facilities (back-stopping) that the contractor’s team will have from the contractor during the execution of the contract.

# Timetable of activities

- The timing, sequence and duration of the proposed activities, taking into account mobilisation time.

- The identification and timing of major milestones in execution of the contract, including an indication of how the achievement of these would be reflected in any reports, particularly those stipulated in the Terms of reference.

ANNEX III: Organisation & Methodology  lot 3

To be completed by the bidder

# Rationale

- Any comments on the Terms of reference of importance for the successful execution of activities, in particular its objectives and expected results, thus demonstrating the degree of understanding of the contract. An opinion on the key issues related to the achievement of the contract objectives and expected results.

# Strategy

- An outline of the approach proposed for contract implementation.

- A list of the proposed activities considered to be necessary to achieve the contract objectives.

- In the case of a bid being submitted by a consortium, a description of the input from each of the consortium members and the distribution and interaction of tasks and responsibilities between them.

- A description of the support facilities (back-stopping) that the contractor’s team will have from the contractor during the execution of the contract.

# Timetable of activities

- The timing, sequence and duration of the proposed activities, taking into account mobilisation time.

- The identification and timing of major milestones in execution of the contract, including an indication of how the achievement of these would be reflected in any reports, particularly those stipulated in the Terms of reference.

# ANNEX IV: LIST OF KEY EXPERTS - LOT 1

| Name of expert | Proposed position | Years of experience | Age | Educational background | Certificates | Languages and degree of fluency (VG, G, W) |
| --- | --- | --- | --- | --- | --- | --- |

- With enclosed CV’s, copies of diploma, service authorization certificate for following equipment: LST and BENTEL as listed in Annex II. Certificates should be issued by the equipment producer.

- The CV should be limited to 4 pages maximum and should provide details of the educational background, general and specific professional experience, present position and key qualifications.

# ANNEX IV: LIST OF KEY EXPERTS - LOT 2

| Name of expert | Proposed position | Years of experience | Age | Educational background | Certificates | Languages and degree of fluency (VG, G, W) |
| --- | --- | --- | --- | --- | --- | --- |

- With enclosed CV’s, copies of diploma, service authorization certificate for following equipment: SIEMENS, as listed in Annex II. Certificates should be issued by the equipment producer.

- The CV should be limited to 4 pages maximum and should provide details of the educational background, general and specific professional experience, present position and key qualifications.

# ANNEX IV: LIST OF KEY EXPERTS - LOT 3

| Name of expert | Proposed position | Years of experience | Age | Educational background | Certificates | Languages and degree of fluency (VG, G, W) |
| --- | --- | --- | --- | --- | --- | --- |

- With enclosed CV’s, copies of diploma, service authorization certificate for following equipment: ESSER as listed in Annex II. Certificates should be issued by the equipment producer.

- The CV should be limited to 4 pages maximum and should provide details of the educational background, general and specific professional experience, present position and key qualifications.

ANNEX V: FINANCIAL OFFER – LOT 1

- Page No […of…]

- PUBLICATION REFERENCE: HQ EUFOR/FIRE ALARM SYSTEM/2024-SV/025

- NAME OF BIDDER: [……………………………]

- TABLE “1”

|  |  | BASIC YEAR 2025 (01 Jan ’25 – 31 Dec ’25) |  | OPTION YEAR 2026 (01 Jan ’26 – 31 Dec ’26) |  |
| --- | --- | --- | --- | --- | --- |
|  | DESCRIPTION OF SERVICE | UNIT PRICE (BAM) | TOTAL PRICE (BAM) | UNIT PRICE (BAM) | TOTAL PRICE (BAM) |
| 1 | SCHEDULED MAINTENANCE, ONCE A YEAR (in accordance with Annex II – LOT 1, Article 3.1) |  |  |  |  |
| 2 | SCHEDULED MAINTENANCE, TWICE A YEAR (in accordance with Annex II – LOT 1, Article 3.2) |  |  |  |  |
| 3 | UNSCHEDULED MAINTENANCE, HOURLY RATE (in accordance with Annex II – LOT 1, Article 4) Price should be quoted based on estimate of 250 hr. per year. |  |  |  |  |
|  | TOTAL: |  |  | TOTAL: |  |

Done at:[………………………], [../../..]					by [name]

On behalf of […………………………]					[Bidder’s stamp and signature]

ANNEX V – LOT 1 – MODIFICATION 1

MOST FREQUENTLY USED SPARE PARTS LIST

TABLE “2”

|  |  | BASIC YEAR 2025 | OPTION YEAR 2026 |
| --- | --- | --- | --- |
| ITEM | DESCRIPTION OF SPARE PARTS | UNIT PRICE (BAM) | UNIT PRICE (BAM) |
| 1 | Back up accu. battery 12V, 7.5 Ah |  |  |
| 2 | Back up accu. battery 12V, 18 Ah |  |  |
| 3 | Back up accu. battery ULTRA 127C |  |  |
| 4 | Back up accu. battery ULTRA 12240 |  |  |
| 5 | Optical smoke detector LST, 5251 TEM |  |  |
| 6 | Thermal detector LST, 5251 TEM |  |  |
| 7 | Call point taster |  |  |
| 8 | Power supply/charge unit BAQ 35, BC 216, NTB216-1 |  |  |
| 9 | Connection box HANGER 12V SM2PJ |  |  |
| 10 | PC monitor 22” – BENQ |  |  |
| 11 | Manhhan IO card PCI |  |  |
| 12 | Graphic card EXPRESS COMBO PCI |  |  |
| 13 | Modul WIF 5-1 |  |  |
| 14 | S-link GSM Communicator |  |  |
| 15 | Digital communicator BENT GT COM |  |  |
| 16 | Thermo folio – AERO – roll |  |  |
| 17 | Control panel LST BC600, BC216 |  |  |
| 18 | Addresable optic fire detector ND 22051 with standing B501 |  |  |
| 19 | Fire detector 601P with standing |  |  |

Items 1, 2, 3, 4, 5, 6, 7, 8, 17, 18 and 19 related to standard independent fire alarm system service.

Items 9, 10, 11, 12, 13, 14, 15 and 16 related to Central fire alarm system management service.

- You are encouraged to propose any additional list of spare parts for the equipment listed in Annex II. It should be submitted on a separate sheet. The bidders shall provide a financial bid for spare parts listed; however, prices offered will not enter into the price calculation in order to define the lowest bidder.

Done at:[………………………], [../../..]				by [name]

On behalf of […………………………]				[Bidders's stamp and signature]

ANNEX V: FINANCIAL OFFER – LOT 2

- Page No […of…]

- PUBLICATION REFERENCE: HQ EUFOR/FIRE ALARM SYSTEM/2024-SV/025

- NAME OF BIDDER: [……………………………]

- TABLE “1”

|  |  | BASIC YEAR 2025 (01 Jan ’25 – 31 Dec ’25) |  | OPTION YEAR 2026 (01 Jan ’26 – 31 Dec ’26) |  |
| --- | --- | --- | --- | --- | --- |
|  | DESCRIPTION OF SERVICE | UNIT PRICE (BAM) | TOTAL PRICE (BAM) | UNIT PRICE (BAM) | TOTAL PRICE (BAM) |
| 1 | SCHEDULED MAINTENANCE, ONCE A YEAR (in accordance with Annex II – LOT 2, Article 2.1) |  |  |  |  |
| 2 | SCHEDULED MAINTENANCE, ONCE A YEAR (in accordance with Annex II – LOT 2, Article 2.2) |  |  |  |  |
| 3 | UNSCHEDULED MAINTENANCE, HOURLY RATE, (in accordance with Annex II – LOT 2, Article 3) Price should be quoted based on estimate of 250 hr. per year |  |  |  |  |
|  | TOTAL: |  |  | TOTAL: |  |

Done at:[………………………], [../../..]				by [name]

On behalf of […………………………]				[Bidders's stamp and signature]

ANNEX V – LOT 2

MOST FREQUENTLY USED SPARE PARTS LIST

TABLE “2”

|  |  |  | BASIC YEAR 2025 | OPTION YEAR 2026 |
| --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION OF SPARE PARTS |  | UNIT PRICE (BAM) | UNIT PRICE (BAM) |
| 1 | Back up accu. battery 12V, 7.2 Ah |  |  |  |
| 2 | Back up accu. battery 12V, 12 Ah |  |  |  |
| 3 | Back up accu. battery 12V, 18 Ah |  |  |  |
| 4 | Optical smoke detector |  |  |  |
| 5 | Thermal detector |  |  |  |
| 6 | Call point taster |  |  |  |
| 7 | Power supply/charge unit (ref. the list of brand name systems) |  |  |  |
| 8 | Control panel Siemens Cerberus 721.361 |  |  |  |
| 9 | Extinguishing control panel Bentel |  |  |  |
| Items 1,2,3,4,5,6 and 9 related to standard independent fire alarm system service. |  |  |  |  |
| Items 7, 8 & 10 related to fire suppression systems. |  |  |  |  |

- You are encouraged to propose any additional list of spare parts for the equipment listed in Annex II. It should be submitted on a separate sheet. The bidders shall provide a financial bid for spare parts listed; however, prices offered will not enter into the price calculation in order to define the lowest bidder.

Done at:[………………………], [../../..]				by [name]

On behalf of […………………………]				[Bidders's stamp and signature]

ANNEX V: FINANCIAL OFFER – LOT 3

- Page No […of…]

- PUBLICATION REFERENCE: HQ EUFOR/FIRE ALARM SYSTEM/2024-SV/025

- NAME OF BIDDER: [……………………………]

- TABLE “1”

|  |  | BASIC YEAR 2025 (01 Jan ’25 – 31 Dec ’25) |  | OPTION YEAR 2026 (01 Jan ’26 – 31 Dec ’26) |  |
| --- | --- | --- | --- | --- | --- |
|  | DESCRIPTION OF SERVICE | UNIT PRICE (BAM) | TOTAL PRICE (BAM) | UNIT PRICE (BAM) | TOTAL PRICE (BAM) |
| 1 | SCHEDULED MAINTENANCE, ONCE A YEAR (in accordance with Annex II – LOT 2, Article 2.1) |  |  |  |  |
| 2 | UNSCHEDULED MAINTENANCE, HOURLY RATE, (in accordance with Annex II – LOT 2, Article 3) Price should be quoted based on estimate of 120 hr. per year |  |  |  |  |
|  | TOTAL: |  |  | TOTAL: |  |

Done at:[………………………], [../../..]				by [name]

On behalf of […………………………]				[Bidders's stamp and signature]

ANNEX V – LOT 3

MOST FREQUENTLY USED SPARE PARTS LIST

TABLE “2”

|  |  |  | BASIC YEAR 2025 | OPTION YEAR 2026 |
| --- | --- | --- | --- | --- |
| ITEM NO. | DESCRIPTION OF SPARE PARTS |  | UNIT PRICE (BAM) | UNIT PRICE (BAM) |
| 1 | Back up accu. battery 12V, 7.5 Ah |  |  |  |
| 2 | Back up accu. battery 12V, 12 Ah |  |  |  |
| 3 | Back up accu. battery 12V, 18 Ah |  |  |  |
| 4 | Optical smoke detector |  |  |  |
| 5 | Thermal detector |  |  |  |
| 6 | Call point taster |  |  |  |
| 7 | Control panel |  |  |  |
| All items are related to standard independent fire alarm system service. |  |  |  |  |

- You are encouraged to propose any additional list of spare parts for the equipment listed in Annex II. It should be submitted on a separate sheet. The bidders shall provide a financial bid for spare parts listed; however, prices offered will not enter into the price calculation in order to define the lowest bidder.

Done at:[………………………], [../../..]				by [name]

On behalf of […………………………]				[Bidders's stamp and signature]

ANNEX VI

|  | ### PROCUREMENT AND CONTRACTING OFFICE HQ EUFOR, J8 BUTMIR Camp Sarajevo Bldg. 225, 71210 Ilidza, BH Fax: Civil +387-33-495707 e-mail: taco@eufor.europa.eu |  |
| --- | --- | --- |

ANNEX VII - CALL ORDER FORM

| CONTRACT PURCHASING AGREEMENT (CPA): [FinS CPA Number] This Call Order is governed by the terms and conditions specified in the CPA. |  |  | Date of Call Order: [day/month/year] |  | Call Order Number: [FinS PO Number] |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Call sequential number: [i.e. 1st, 2nd, 3rd, … call] <of a given year> |  |  |  |  |
| # ISSUED BY: # HQ EUFOR Procurement and Contracting Office # Camp Butmir Sarajevo Building 225 # 71210 Ilidza, Bosnia and Herzegovina # Phone: ++387 33 495 <…> # Fax: ++387 33 495 707 # E-mail: taco@eufor.europa.eu <or/and> # [name contract manager]@eufor.europa.eu |  |  | # CONTRACTOR: < Name of contractor, point of contact, address and contact details > |  |  |  |  |  |  |
| # CALLING OFFICER: [printed full name of authorized calling officer] ------------------------------------------------------ SIGNATURE OF CALLING OFFICER: ------------------------------------------------------ |  |  | # Delivery Deadline: <when supplies> [As specified in the Contract Purchasing Agreement] or [a specific date] <or> Period of Performance: <when services or works> [As specified in the Contract Purchasing Agreement] or [month] or [given period] or [specific dates] |  |  |  |  |  |  |
| Item # | Description of Supplies or Services |  | Quantity ordered | Unit |  | Unit price |  | Total Amount | Currency |
|  | <Only for items or services specified in the CPA |  |  |  |  | <As specified in the CPA> |  |  | <CPA currency> |
| Maximum CPA amount for the current year: |  | Purchase Requisition number of this Call: | Total Amount of this Call Order: |  |  |  | Remaining Amount on the CPA: |  |  |
| [Amount including modifications, if any] |  | [FinS PR number] | [Amount] |  |  |  | [Maximum amount minus the total value of all call orders placed so far, including this call] |  |  |
| Approval Fund Manager |  |  | Date |  |  |  | Signature |  |  |
| [Name] |  |  |  |  |  |  |  |  |  |
| Approval Contract Manager |  |  | Date |  |  |  | Signature |  |  |
| [Name] |  |  |  |  |  |  |  |  |  |

ANNEX VIII

# Declaration on honour on
exclusion criteria and selection criteria

The undersigned [insert name of the signatory of this form], representing:

| (only for natural persons) himself or herself | (only for legal persons) the following legal person: |
| --- | --- |
| ID or passport number: (‘the person’) | Full official name: Official legal form: Statutory registration number: Full official address: VAT registration number: (‘the person’) |

- I – Situation of exclusion concerning the person

| - declares that the above-mentioned person is in one of the following situations: | YES | NO |
| --- | --- | --- |
| - it is bankrupt, subject to insolvency or winding up procedures, its assets are being administered by a liquidator or by a court, it is in an arrangement with creditors, its business activities are suspended or it is in any analogous situation arising from a similar procedure provided for under national legislation or regulations; |  |  |
| - it has been established by a final judgement or a final administrative decision that the person is in breach of its obligations relating to the payment of taxes or social security contributions in accordance with the law of the country in which it is established, with those of the country in which the contracting authority is located or those of the country of the performance of the contract; |  |  |
| - it has been established by a final judgement or a final administrative decision that the person is guilty of grave professional misconduct by having violated applicable laws or regulations or ethical standards of the profession to which the person belongs, or by having engaged in any wrongful conduct which has an impact on its professional credibity where such conduct denotes wrongful intent or gross negligence, including, in particular, any of the following: |  |  |
| (i) fraudulently or negligently misrepresenting information required for the verification of the absence of grounds for exclusion or the fulfilment of selection criteria or in the performance of a contract; |  |  |
| (ii) entering into agreement with other persons with the aim of distorting competition; |  |  |
| (iii) violating intellectual property rights; |  |  |
| (iv) attempting to influence the decision-making process of the contracting authority during the award procedure; |  |  |
| (v) attempting to obtain confidential information that may confer upon it undue advantages in the award procedure; |  |  |
| - it has been established by a final judgement that the person is guilty of the following: |  |  |
| (i) fraud, within the meaning of Article 1 of the Convention on the protection of the European Communities' financial interests, drawn up by the Council Act of 26 July 1995; |  |  |
| (ii) corruption, as defined in Article 3 of the Convention on the fight against corruption involving officials of the European Communities or officials of EU Member States, drawn up by the Council Act of 26 May 1997, and in Article 2(1) of Council Framework Decision 2003/568/JHA, as well as corruption as defined in the legal provisions of the country where the contracting authority is located, the country in which the person is established or the country of the performance of the contract; |  |  |
| (iii) participation in a criminal organisation, as defined in Article 2(1) of Joint Action 98/733/JHA of the Council; |  |  |
| (iv) money laundering or terrorist activities, as defined in Articles 1, 4 and 5 of Council Directive 2015/849; |  |  |
| (v) child labour or other offences concerning trafficking of human beings as referred to in Article 2 of Directive 2011/36/EU. |  |  |
| - following another procurement procedure or grant award procedure financed by the budget of the European Union or through the Facility, they have been declared to be in serious breach of contract for failure to comply with their contractual obligations; |  |  |
| - it does not have adequate resources to perform the contract, or the ability to obtain them; |  |  |
| - it is not able to comply with the required delivery or performance schedule, taking into consideration all existing commercial and business commitments; |  |  |

- II – Grounds for rejection from this procedure

| - declares that the above-mentioned person: | YES | NO |
| --- | --- | --- |
| - is subject to a conflict of interest; |  |  |
| - is guilty of misrepresentation in supplying the information required by the contracting authority as a condition of participation in the contract procedure or fail to supply this information; |  |  |
| - was previously involved in the preparation of procurement documents used in the award procedure where this entails a breach in the principle of equality of treatment. |  |  |

- III – Evidence upon request

Upon request and within the time limit set by the contracting authority the person must provide information on the persons that are members of the administrative, management or supervisory body. It must also provide the following evidence concerning the person itself and concerning the natural or legal persons which assume unlimited liability for the debt of the person:

For situations described in (a), (c), (d) or (f), production of a recent extract from the judicial record is required or, failing that, an equivalent document recently issued by a judicial or administrative authority in the country of establishment of the person showing that those requirements are satisfied.

For the situation described in point (a) or (b), production of recent certificates issued by the competent authorities of the State concerned are required. These documents must provide evidence covering all taxes and social security contributions for which the person is liable, including for example, VAT, income tax (natural persons only), company tax (legal persons only) and social security contributions. Where any document described above is not issued in the country concerned, it may be replaced by a sworn statement made before a judicial authority or notary or, failing that, a solemn statement made before an administrative authority or a qualified professional body in its country of establishment.

- IV – Evidence for selection

The signatory declares that the above-mentioned person is able to provide the necessary supporting documents listed in the relevant sections of the instruction on applying to participate in the call for tender and which are not available electronically upon request and without delay.

The person is not required to submit the evidence if it has already been submitted for another procurement procedure. The documents must have been issued no more than one year before the date of their request by the contracting authority and must still be valid at that date.

The above-mentioned person may be subject to rejection from this procedure and to administrative sanctions (exclusion or financial penalty) if any of the declarations or information provided as a condition for participating in this procedure prove to be false.

Full name

Position in company

Date…………………………………………..

Signature

# FURTHER INFORMATION

# ADMINISTRATIVE COMPLIANCE GRID

| Contract title : | LOT 1 – Fire alarm including Central fire alarm system maintenance and/or LOT 2 - – Fire alarm including Fire suppression system maintenance and/or LOT 3 - – Fire alarm systems maintenance, B200 | Publication reference : | - HQ EUFOR/FIRE ALARM SYSTEM/2024-SV/025 |
| --- | --- | --- | --- |

| Bid envelope number | Name of Bidder | Is the bidder’s nationality eligible? (Y/N) | Documentation complete? (Y/N) | Declaration on Exclusion criteria included & duly signed (all consortium member and all sub-contractors, if applicable) (Y/N) | Is the Bid submission form completed? (Y/N) | Is bidder’s declaration signed (Y/N) | Other administrative requirements for bidding dossier? (Yes/No/Not applicable) | Overall decision? (Accept / Reject) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |

| Chairman's name |  |
| --- | --- |
| Chairman's signature |  |
| Date |  |

# TECHNICAL EVALUATION GRID

To be completed by each voting member of the Contract Award Committee.

| Contract title : | LOT 1 – Fire alarm including Central fire alarm system maintenance and/or LOT 2 - – Fire alarm including Fire suppression system maintenance and/or LOT 3 - – Fire alarm systems maintenance, B200 | Publication reference : | - HQ EUFOR/FIRE ALARM SYSTEM/2024-SV/025 |
| --- | --- | --- | --- |

| Bid envelope No | Name of Bidder | Professional capacity? Article 20.2.1.a. LOT1/LOT2/LOT 3 (OK/a/b/…) | Economic & financial capacity? Article 20.2.2.a. LOT1/LOT2/LOT 3 (OK/a/b/…) | Technical capacity? Article 20.2.3.a. LOT1/LOT2/LOT 3 (OK/a/b/…) (OK/a/b/…) | Technical Compliance with terms of reference? (OK/a/b/…) Article 20.2.4.a. LOT1/LOT2/LOT 3 (OK/a/b/…) | Technically compliant? (Y/N) | Notes: |
| --- | --- | --- | --- | --- | --- | --- | --- |

| Evaluator's name |  |
| --- | --- |
| Evaluator's signature |  |
| Date |  |

BID guarantee form – NOT APPLICABLE

[On the headed notepaper of the financial institution providing the guarantee]

<Date>

Title of contract: < Title of contract>

Identification number: <Publication reference>

We, the undersigned, [name, company name, address of the issuing institution], hereby declare that we will guarantee, not merely jointly and severally, but as principal debtor, to [Contracting Authority's name and address] on behalf of [Contractor's name and address], the payment of [amount of the bid guarantee], without dispute, on receipt of a first written request from the recipient.

The guarantee will enter into force and take effect from [submission deadline and valid throughout the validity of the submitted bid].

We note that you will release the guarantee and notify us once the contract has been awarded or the bidding procedure cancelled.

Any dispute concerning this guarantee shall be governed by [enter the law applicable] and fall within the competence of [indicate which jurisdiction applies].

Name: …………………………… Position: …………………

- Signature: ……………..

Date:

MODEL PERFORMANCE GUARANTEE

[On the headed notepaper of the financial institution providing the guarantee]

Title of contract:

LOT 1 – Fire alarm including  Central fire alarm system maintenance, and/or

LOT 2 – Fire alarm including  Fire suppression system maintenance, and/or

LOT 3 – Fire alarm systems maintenance in Building 200

- Identification number: HQ EUFOR/FIRE ALARM SYSTEM/2024-SV/025

We the undersigned, [name, company name, address], hereby declare that we will guarantee, not merely jointly and severally, but as principal debtor, to [Contracting Authority's name and address] on behalf of [Contractor's name and address], the payment of [amount of the performance guarantee], representing the performance guarantee mentioned in Article 10 of the Special Conditions without dispute, on receipt of a first written request from the beneficiary.

This guarantee shall enter into force and take effect from [indicate the date of entry into force of the contract].

We note that you will release the guarantee and notify us of the fact at the latest within thirty days of receipt of the final statement [except for the part assigned to the after sales service as stipulated in the Special Conditions].

Any dispute concerning this guarantee shall be governed by [enter the law applicable] and fall within the competence of [indicate which jurisdiction applies].

Name: …………………………… Position: …………………

Signature: ……………..

Date: <Date>

# BID FORM FOR A SERVICE CONTRACT

Publication reference: HQ EUFOR/FIRE ALARM SYSTEM/2024-SV/025

Title of contract:

LOT 1 – Fire alarm including  Central fire alarm system maintenance, and/or

LOT 2 – Fire alarm including  Fire suppression system maintenance, and/or

LOT 3 – Fire alarm systems maintenance in Building 200

<Place and date>

A: HQ EUFOR, Procurement and Contracting Office (P&C), Butmir Camp Sarajevo, 71210 Ilidza, BiH

- 1	SUBMITTED BY

|  | Name of Bidder | Nationality (*) |
| --- | --- | --- |
| Company |  |  |

(*) where the company is registered

- 2	CONTACT PERSON (for this Bid)

| Name |  |
| --- | --- |
| Address |  |
| Telephone |  |
| Fax |  |
| E-mail |  |

- 3	BIDDER'S DECLARATION

To be completed and signed by the bidder.

In response to your letter of invitation to bid for the above contract,

we, the undersigned, hereby declare that:

1	We have examined and accept in full the content of the dossier for invitation to bid No HQ EUFOR/FIRE ALARM SYSTEM/2024-SV/025 of 07 October 2024. We hereby accept its provisions in their entirety, without reservation or restriction.

2	We offer to perform, in accordance with the terms of the bidding dossier and the conditions and time limits laid down, without reserve or restriction:

3	The prices of our bid are correct and will constitute fixed prices in case the contract is awarded to us.

4	We will grant a discount of [%], [in case Lot nr…, Lot nr…, and…] are awarded to us.

5	Our bid is valid for a period of 90 days from the final date for submission of bids, i.e. until [../../..].

6 	If our bid is accepted, we undertake to provide a performance guarantee as follows:

- LOT 1 – 10% of the contract value, and must be presented in the form specified in   the annex to the bidding dossier

- LOT 2 – 10% of the contract value, and must be presented in the form specified in the annex to the bidding dossier

- LOT 3 – 10% of the contract value, and must be presented in the form specified in the annex to the bidding dossier.

  - In case of award of two or all three lots to a same contractor a performance guarantee of 10 % of the contract value will be required, as required by Article 10 of the General Conditions and Special Conditions.

7	Our firm/company [and our consortium partners] has/have the following nationality:

[……………………………………………………………………]

8	We are making this application in our own right and led by ourselves for this bid. We confirm that we are not bidding for the same contract in any other form.

9	We agree to abide by the ethics clauses in Article 23 of the instructions to bidders and, in particular, have no potential conflict of interests or any relation with other bidders or other parties in the bidding procedure at the time of the submission of this application.

10	We will inform the Contracting Authority immediately if there is any change in the above circumstances at any stage during the implementation of the contract. We shall without delay inform the Contracting Authority of any changes in the situations as declared in Article 16 of the instructions to bidders. We also fully recognise and accept that any inaccurate or incomplete information deliberately provided in this application may result in our exclusion from this and other contracts.

11 	We note that the Contracting Authority is not bound to proceed with this invitation to bid and that it reserves the right to award only part of the contract. It will incur no liability towards us should it do so.

Name and first name: […………………………………………………………………]

Duly authorised to sign this bid on behalf of:

[……………………………………………………………………………………  …]

Place and date: […………………………………………………………….………….]

Stamp of the firm/company:

Our bid includes the following annexes:

[Numbered list of annexes with titles]