|  | PROCUREMENT AND CONTRACTING OFFICE HQ EUFOR, J8 BUTMIR Camp Sarajevo Bldg. 225, 71210 Ilidza, BH Fax: Civil +387-33-495707 e-mail: taco@eufor.europa.eu |  |
| --- | --- | --- |

CLARIFICATION I

Invitation to bid for Fire alarm including Central fire alarm system maintenance (LOT 1) and/or Fire alarm including Fire suppression system maintenance (LOT 2)

at HQ EUFOR, Camp Butmir Sarajevo, 71210 Ilidza, Bosnia and Herzegovina

Publication reference: HQ EUFOR/FIRE ALARM SYSTEM/2022-SV/011

- In accordance with Article 2. and Article 12. of Instruction to bidders, requests for clarification are to be received by the 03 October 2022, 16:00 hr. and clarification to be issued by the Contracting Authority by 10 October 2022.  The following clarification questions have been received, followed by the Contracting Authority’s answers:

Question 1 – LOT 1

List of fireworks systems in LOT 1 was not updated until the end. The Siemens system is installed on facility 219, not MENVIER MF9308.

Answer 1 – LOT 1

In accordance with LOT 1 Annex II – Terms of reference, Article 1. Location and type of equipment, Line 13 – SIMENS manufacturer equipment was installed (not MENVIER MF9308).

Question 1 – LOT 2

The list of spare parts in LOT 2, under paragraph 8, contains:

Gas bottle – NOVEC, Q=1100 grams

This gas is generally measured in kg. Usually, complete bottle content is changing in cases of system activation and bottle discharge. Replacements are done in certified charging houses, and those are not existing in BiH.

Answer 1 – LOT 2

In accordance with LOT 2 Annex V – Most frequently used spare parts, Line item 8 has been deleted entirely.

NOTE: TENDER DOCUMENTATION, WITH INCORPORATED CHANGES, HAS BEEN MODIFIED AND PUBLISHED AT EUFOR WEB PAGE

Procurement and Contracting Office

J8, HQ EUFOR

10 October 2022

This clarification is being sent simultaneously to all bidders and published on following website: www.euforbih.org/tenders where bidding dossier is published. No further clarifications may be required nor provided as specified by clause 12 of the instructions to Bidder.